## Sheet1
Table R.1
Step | Measure | Description
A | 2017-2036 System PVRR (x1) | Base Case (One SO Model Run)
• 2017 IRP Update with following modifications
• Removal of 161 MW Uinta Wind Project (2021-2036)
• 2017 IRP Reference Case Regional Haze assumptions
• March 2018 official forward price curve with medium CO2 price inputs
• Results are calculated with and without incremental selective catalytic reduction
costs for Jim Bridger 1 and 2
B | 2017-2036 System PVRR (x22) | Retirement Cases (22 SO Model Runs)
• 2017 IRP Update with following modifications
• Removal of 161 MW Uinta Wind Project (2021-2036)
• 2017 IRP Reference Case Regional Haze assumptions
• March 2018 official forward price curve with medium CO2 price inputs
• No incremental selective catalytic reduction costs
• Each run assumes the retirement of a single coal unit at the end of 2022
C | 2017-2036 System PVRR(d) (x22) | Present-Value Revenue Requirement Differential (PVRR(d))
• Change in system PVRR between the Base Case (A) and each of 22 Retirement Cases (B)