## Sheet1
Table 5.11 - Existing DSM Resource Summary
Program | Description | Energy Savings or Capacity at Generator | Included as
Class |  |  | Existing Resources for
2019-2038 Period
1 | Residential/small commercial air conditioner load control | 122 MW summer peak | Yes.
| Irrigation load | 205 MW summer peak1/ | Yes.
management
| Interruptible contracts | 177 MW | Yes.
Year-round availability
2 | PacifiCorp and Energy Trust of Oregon programs | 0 MW2/ | No. Class 2 DSM programs are modeled as resource options in the portfolio development process and included in the preferred portfolio.
3 | Time-based pricing | 98 MW summer peak | No. Historical savings from customer responses to pricing signals are reflected in the load forecast.
| Inverted rate pricing | 55-149 GWh (capacity impacts are unavailable due to lack of information on end use loads being saved | No. Historical savings from customer response to pricing structure is reflected in load forecast.
4 | Energy education | Energy and capacity impacts are not available/measured | No. Historical savings from customer participation are reflected in the load forecast.
1/ Assumes six percent for planning reserves in addition to realized irrigation load curtailment in Idaho and Utah of 170 MW and 20 MW, respectively, with an additional 3 MW from the Oregon pilot through 2020.
2/ Due to the timing of the 2019 IRP load forecast, there is a small amount (81 MW) of existing Class 2 DSM in Table 5.14 (System Capacity Loads and Resources without Resource Additions).