## Reporting Templates
1. Number of Customer Generation Systems (Data for report compiled on 6/23/2020)
Net Metering Facilities by Resource Type (Schedule 135)
Resource | Facilities as of March 31, 2019 | New Facilities April 1, 2019 to March 31, 2020 | Total Facilities* |  | New Facilities January 1, 2019 to December 31, 2019
Solar | 30921 | 70 | 30991 |  | 92
Wind | 50 | 0 | 50
Solar and Wind | 20 | 0 | 20 |  | 1
Other | 0 | 0 | 0
Hydro | 7 | 0 | 7
Fuel Cell | 1 | 0 | 1
Total | 30999 | 70 | 31069 |  | 93
*The number of customers in Table 1 reflects interconnections and the information
may vary slightly from the information presented in Attachment A due to a lag in the system that populates Attachment A
Customer Generation Facilities by Resource Type (Schedule 136)
Resource | Facilities as of March 31, 2019 | New Facilities April 1, 2019 to March 31, 2020 | Total Facilities
Solar | 3825 | 7772 | 11597
Wind | 0 |  | 0
Solar and Wind | 0 |  | 0
Other | 0 |  | 0
Hydro | 0 |  | 0
Fuel Cell | 0 |  | 0
Total | 3825 | 7772 | 11597
Non-Net Metering Facilities by Resource Type
Resource | Facilities as of March 31, 2019 | New Facilities April 1, 2019 to March 31, 2020** | Total Facilities
Solar | 17 | 1 | 18
Wind | 1 | 0 | 1
Solar and Wind | 0 | 0 | 0
Hydro | 22 | 0 | 22
Thermal | 4 | 0 | 4
Gas | 8 | 0 | 8
Fuel Cell | 0 | 0 | 0
Battery Storage | 1 | 1 | 2
Total | 53 | 2 | 55
**The Company is obtaining the details on the two new facilities and will provide the additional detail on interconnection date and zip code in reply comments.
Historic to December 31, 2009 The information provided for non-net metering facilities represents the Company’s best efforts to identify generation facilities that have been approved and are interconnected to PacifiCorp’s distribution system. PacifiCorp has reviewed the generation facilities within the Balancing Authority and eliminated those that are interconnected to third parties or to the Company’s transmission system. This list may not be complete because previously there were no requirements to maintain records based upon the point of interconnection with the distribution system.
The information provided for non-net metering facilities represents the Company’s best efforts to identify generation facilities that have been approved and are interconnected to PacifiCorp’s distribution system. PacifiCorp has reviewed the generation facilities within the Balancing Authority and eliminated those that are interconnected to third parties or to the Company’s transmission system. This list may not be complete because previously there were no requirements to maintain records based upon the point of interconnection with the distribution system.
2. Individual Capacity of Each Installation
See Attachment A
3. Total kW Combined Capacity
Net Metering Generation Capacity by Resource Type (kW) (Schedule 135)
Resource | Facilities as of March 31, 2019 | New Facilities April 1, 2019 to March 31, 2020** | Total Facilities |  | New Facilities January 1, 2019 to December 31, 2019
Solar | 247640.23 | 4855.62 | 252495.85 |  | 5362.38
Wind | 213.12 | 0 | 213.12
Solar and Wind | 264.24 | 0 | 264.24
Other | 0 | 0 | 0
Hydro | 126.12 | 0 | 126.12
Fuel Cell | 15 | 0 | 15
Total | 248258.71 | 4855.62 | 253114.33 |  | 5362.38
*The number of customers in Table 3 reflects interconnections and the information
may vary slightly from the information presented in Attachment A due to a lag in the system that populates Attachment A
Customer Generation Capacity by Resource Type (kW) (Schedule 136)
Resource | Facilities as of March 31, 2019 | New Facilities April 1, 2019 to March 31, 2020 | Total Facilities
Solar | 27771.525 | 62235.475 | 90007
Wind | 0 |  | 0
Solar and Wind | 0 |  | 0
Other | 0 |  | 0
Hydro | 0 |  | 0
Fuel Cell | 0 |  | 0
Total | 27771.525 | 62235.475 | 90007
Non-Net Metering Generation Capacity by Resource Type (MW)
Resource | Facilities as of March 31, 2019 | New Facilities April 1, 2019 to March 31, 2020** | Total Facilities
Solar | 44.695 | 0.65 | 45.345
Wind | 0.04 | 0 | 0.04
Solar and Wind | 0 | 0 | 0
Hydro | 36.96 | 0 | 36.96
Thermal | 42.5 | 0 | 42.5
Gas | 8.255 | 0 | 8.255
Fuel Cell | 0 | 0 | 0
Battery Storage | 0.25 | 1 | 1.25
Total | 132.7 | 1.65 | 134.35
**The Company is obtaining the details on the two new facilities and will provide the additional detail on interconnection date and zip code in reply comments.
4. Number of Expired Credits per Customer
See Attachment A
4a. Net Metering Excess Energy Valuation
See Attachment B
5. Total Value of Expired Credits (as reported on June 23, 2020)
Expired Credits at End of Annualized Period (Schedule 135)
Customers |  | kWh | Value | Total Value
31069 |  | 11021900.8 | 0.026 | 286569.4208
Expired Credits at End of Annualized Period (Schedule 136)
Customers |  | kWh | Total Value
11597 |  | 2631396.7249 | 240551.87
6. Excess Net Metering Generation per Month
Month | Schedule 135 | Schedule 136
2019-04-01 | 5259039 | 1894192
2019-05-01 | 11396843 | 2660913
2019-06-01 | 10830826 | 3158235
2019-07-01 | 8383561 | 3195295
2019-08-01 | 5099464 | 2559631
2019-09-01 | 4469424 | 2989934
2019-10-01 | 6121820 | 3489716
2019-11-01 | 2783100 | 3108631
2019-12-01 | 601663 | 1549774
2020-01-01 | 447989 | 1220382
2020-02-01 | 784130 | 2142037
2020-03-01 | 3718982 | 4324094
Total | 59896841 | 32292834
7. Unforeseen Problems or Barriers in the Tariff.
There are no unforeseen problems or barriers.
8. Measurement to Cap
Customer Generation Activity to Cap as of March 31, 2020
| Maximum Cap MW | Current Enrolled MW
| 170 | 75.1702
9. Measurement to Cap
Large Non-Residential Customer Generation Activity to Cap as of March 31, 2020
| Maximum Cap MW | Current Enrolled MW
| 70 | 7.4667