## Legend
Date
Data as/of | 2022-04-01
Fiscal Year | FY2023
Event Begin Date/Time | 2022-03-05 04:04 | Event Begin Time
Event End Date/Time | 2022-03-07 15:36 | Event End Time
Month Begin | 2022-03-01
Month End | 2022-03-31
Year Begin | 2022-01-01
Year End | 2022-03-31
State | Utah
Comments: | Tag | filed

## Customer Analysis
| Utah | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2022-03-05 04:04 | through | 2022-03-07 15:36
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 40944 | 1.998% | 10361706.671 | 390 | 2048818 | 22812 | 21908 | 18683 | 349 | 4 | 0 | 0 | 53.51% | 5.0574 | 0.019984 | 253.0702
RMP | Rocky Mountain Power | 40944 | 3.316% | 10361706.671 | 390 | 1234878 | 22812 | 21908 | 18683 | 349 | 4 | 0 | 0 | 53.51% | 8.3909 | 0.033156 | 253.0702
UT | Utah | 40944 | 4.085% | 10361706.671 | 390 | 1002258 | 22812 | 21908 | 18683 | 349 | 4 | 0 | 0 | 53.51% | 10.3384 | 0.019984 | 253.0702
UT | AMERICAN FORK | 96 | 0.07962% | 30950.403 | 4 | 120574 | 0 | 2 | 94 | 0 | 0 | 0 | 0 | 2.083% | 0.25669 | 0.00079619 | 322.4
UT | CEDAR CITY | 1243 | 3.375% | 221182.017 | 4 | 36829 | 0 | 760 | 483 | 0 | 0 | 0 | 0 | 61.14% | 6.0056 | 0.033751 | 177.9421
UT | JORDAN VALLEY | 8218 | 3.327% | 1406271.513 | 48 | 247019 | 2296 | 6266 | 1890 | 62 | 0 | 0 | 0 | 76.25% | 5.693 | 0.033269 | 171.1209
UT | LAYTON | 327 | 0.4296% | 74543.167 | 11 | 76120 | 0 | 79 | 248 | 0 | 0 | 0 | 0 | 24.16% | 0.97928 | 0.0042958 | 227.9608
UT | MOAB | 2 | 0.02168% | 414.733 | 1 | 9225 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0% | 0.044958 | 0.0002168 | 207.3665
UT | OGDEN | 490 | 0.43% | 137497.55 | 6 | 113954 | 0 | 111 | 379 | 0 | 0 | 0 | 0 | 22.65% | 1.2066 | 0.0043 | 280.6072
UT | PARK CITY | 761 | 2.179% | 124794.066 | 2 | 34919 | 0 | 755 | 6 | 0 | 0 | 0 | 0 | 99.21% | 3.5738 | 0.021793 | 163.9869
UT | RICHFIELD | 543 | 3.38% | 75827.535 | 5 | 16063 | 0 | 483 | 60 | 0 | 0 | 0 | 0 | 88.95% | 4.7206 | 0.033804 | 139.6456
UT | RICHFIELD (DELTA) | 112 | 2.854% | 27952.583 | 4 | 3924 | 0 | 41 | 71 | 0 | 0 | 0 | 0 | 36.61% | 7.1235 | 0.028542 | 249.5766
UT | SLC METRO | 27750 | 12.16% | 7989086.197 | 278 | 228261 | 20370 | 12783 | 14676 | 287 | 4 | 0 | 0 | 46.06% | 34.9998 | 0.12157 | 287.895
UT | SMITHFIELD | 649 | 2.472% | 112674.05 | 6 | 26253 | 0 | 485 | 164 | 0 | 0 | 0 | 0 | 74.73% | 4.2919 | 0.024721 | 173.6118
UT | TOOELE | 328 | 1.261% | 77515.89 | 15 | 26010 | 146 | 46 | 282 | 0 | 0 | 0 | 0 | 14.02% | 2.9802 | 0.012611 | 236.3289
UT | TREMONTON | 330 | 2.93% | 68941.717 | 5 | 11262 | 0 | 2 | 328 | 0 | 0 | 0 | 0 | 0.6061% | 6.1216 | 0.029302 | 208.9143
UT | VERNAL | 95 | 0.7338% | 14055.25 | 1 | 12946 | 0 | 95 | 0 | 0 | 0 | 0 | 0 | 100% | 1.0857 | 0.0073382 | 147.95
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2022-03-05 04:04 | through | 2022-03-07 15:36 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2020-03-17 | 1382 | 0.1448% | 304763.517 | 5 | 954372 | 0 | 43 | 1339 | 0 | 0 | 0 | 0 | 3.111% | 0.31933 | 0.0014481 | 220.5235
| 2020-03-18 | 54656 | 5.727% | 13736255.636 | 251 | 954372 | 11578 | 23171 | 31485 | 0 | 0 | 0 | 0 | 42.39% | 14.393 | 0.057269 | 251.322
Data as of
2022-04-01

## SSC by State
| Utah | Event |  | 2022-03-05 04:04 | through | 2022-03-07 15:36 |  | Month |  | 2022-03-01 | through | 2022-03-31 |  | YTD | FY2023 | 2022-01-01 | through | 2022-03-31
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PacifiCorp | 3.4901 | 0.015875 | 219.8576 | 0.2213 | 0.0019904 | 111.1819 | 16.159 | 0.093104 | 173.5584 | 6.0328 | 0.051083 | 118.2517 | 36.8329 | 0.24188 | 152.2758 | 16.2753 | 0.1533 | 106.1668
RMP | Rocky Mountain Power | 5.685 | 0.025694 | 221.2569 | 0.26157 | 0.0026586 | 98.389 | 15.1645 | 0.095411 | 158.9385 | 6.7736 | 0.062255 | 118.2517 | 24.5629 | 0.18679 | 131.502 | 16.1721 | 0.15363 | 105.2654
UT | Utah | 6.9159 | 0.031251 | 221.2981 | 0.23372 | 0.0028695 | 81.4498 | 16.9507 | 0.10572 | 160.3366 | 6.6123 | 0.064868 | 118.2517 | 27.25 | 0.20494 | 132.9662 | 16.9116 | 0.16409 | 103.0647
UT | AMERICAN FORK | 0.030881 | 9.5784e-05 | 322.4 | 0 | 0 | 0 | 0.37925 | 0.004412 | 85.9591 | 0.34837 | 0.0043163 | 80.7121 | 1.1251 | 0.0094966 | 118.4753 | 1.0942 | 0.0094008 | 116.3975
UT | CEDAR CITY | 2.9301e-05 | 9.9775e-07 | 29.367 | 0 | 0 | 0 | 0.80365 | 0.0066131 | 121.5241 | 0.58296 | 0.0053729 | 108.5014 | 1.0919 | 0.007982 | 136.793 | 0.87119 | 0.0067418 | 129.2233
UT | CEDAR CITY (MILFORD) | 0 | 0 | 0 | 0 | 0 | 0 | 0.083461 | 0.00044001 | 189.6814 | 0.083461 | 0.00044001 | 189.6814 | 0.091192 | 0.00049089 | 185.7677 | 0.091192 | 0.00049089 | 185.7677
UT | EVANSTON | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.024995 | 9.6781e-05 | 258.2614 | 0.024995 | 9.6781e-05 | 258.2614
UT | JORDAN VALLEY | 0.97802 | 0.0049019 | 199.5164 |  |  |  | 2.3739 | 0.020104 | 118.0829 | 0.97079 | 0.011904 | 81.5507 | 4.7938 | 0.046956 | 102.0908 | 3.3907 | 0.038756 | 87.4865
UT | LAYTON | 0.048605 | 0.00025941 | 187.365 | 0.00021267 | 9.9775e-07 | 213.15 | 0.19877 | 0.00099775 | 199.2212 | 0.1244 | 0.00067148 | 185.2571 | 0.50302 | 0.003531 | 142.4562 | 0.42864 | 0.0032048 | 133.7514
UT | MOAB | 0.0004138 | 1.9955e-06 | 207.3665 |  |  |  | 0.0019342 | 1.9955e-05 | 96.9308 | 0.0015204 | 1.7959e-05 | 84.6602 | 0.013887 | 0.00013968 | 99.4157 | 0.013473 | 0.00013769 | 97.8512
UT | MONTPELIER | 0 | 0 | 0 | 0 | 0 | 0 | 0.011819 | 0.00010776 | 109.6833 | 0.011819 | 0.00010776 | 109.6833 | 0.012277 | 0.00011374 | 107.9402 | 0.012277 | 0.00011374 | 107.9402
UT | OGDEN | 0.33169 | 0.0031998 | 103.6592 | 0.21849 | 0.0027658 | 79 | 1.206 | 0.0062299 | 193.5818 | 1.0688 | 0.005741 | 186.1709 | 3.5285 | 0.022568 | 156.3477 | 3.3913 | 0.022079 | 153.5962
UT | PARK CITY | 0 | 0 | 0 | 0 | 0 | 0 | 0.37842 | 0.0029274 | 129.2696 | 0.25391 | 0.0021681 | 117.1113 | 0.62742 | 0.0040279 | 155.7681 | 0.50291 | 0.0032686 | 153.859
UT | PRICE | 0 | 0 | 0 | 0 | 0 | 0 | 0.019532 | 0.00013869 | 140.8383 | 0.019532 | 0.00013869 | 140.8383 | 0.21589 | 0.0021831 | 98.8935 | 0.21589 | 0.0021831 | 98.8935
UT | RICHFIELD | 9.8478e-05 | 9.9775e-07 | 98.7 |  |  |  | 0.66091 | 0.0064385 | 102.6509 | 0.58526 | 0.0058967 | 99.2519 | 1.38 | 0.0099276 | 139.0077 | 1.3044 | 0.0093858 | 138.9709
UT | RICHFIELD (DELTA) | 0.02789 | 0.00011175 | 249.5766 |  |  |  | 0.1154 | 0.0013649 | 84.5485 | 0.087512 | 0.0012532 | 69.8326 | 0.12323 | 0.0013958 | 88.2866 | 0.095345 | 0.0012841 | 74.2505
UT | SLC METRO | 5.378 | 0.022228 | 241.9504 | 0.014726 | 0.00010177 | 144.6977 | 9.3849 | 0.04403 | 213.1498 | 1.4138 | 0.016342 | 86.5134 | 11.491 | 0.067523 | 170.1799 | 3.5199 | 0.039835 | 88.3616
UT | SMITHFIELD | 0.062646 | 0.00015964 | 392.4193 |  |  |  | 0.11966 | 0.00071339 | 167.7312 | 0.0072374 | 6.5851e-05 | 109.9055 | 0.21067 | 0.0011434 | 184.2415 | 0.098245 | 0.00049588 | 198.1222
UT | TOOELE | 0.057316 | 0.00028935 | 198.0878 | 0.00028852 | 9.9775e-07 | 289.167 | 0.33633 | 0.0023766 | 141.5163 | 0.25899 | 0.0020494 | 126.3758 | 0.89124 | 0.012229 | 72.8768 | 0.8139 | 0.011902 | 68.3826
UT | TREMONTON | 0.0002754 | 1.9955e-06 | 138.0085 |  |  |  | 0.45868 | 0.0061152 | 75.0071 | 0.3899 | 0.0057859 | 67.387 | 0.69312 | 0.012378 | 55.9963 | 0.62434 | 0.012049 | 51.8175
UT | VERNAL | 0 | 0 | 0 | 0 | 0 | 0 | 0.41805 | 0.0026909 | 155.3558 | 0.40403 | 0.0025961 | 155.6261 | 0.43284 | 0.0027568 | 157.0112 | 0.41882 | 0.002662 | 157.3338
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as of
2022-04-01