## Legend
Date
Data as/of | 2024-03-12
Fiscal Year | FY2025
Event Begin Date/Time | 2024-03-01 21:20 | Event Begin Time
Event End Date/Time | 2024-03-03 17:29 | Event End Time
Month Begin | 2024-03-01
Month End | 2024-03-31
Year Begin | 2024-01-01
Year End | 2024-03-31
State | Utah
Comments: | Tag | filed

## Customer Analysis
| Utah | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2024-03-01 21:20 | through | 2024-03-03 17:29
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 38908 | 1.862% | 5846212.682 | 268 | 2089798 | 51082 | 27439 | 11415 | 18 | 36 | 0 | 0 | 70.52% | 2.7975 | 0.018618 | 150.2573
RMP | Rocky Mountain Power | 38908 | 3.072% | 5846212.682 | 268 | 1266461 | 51082 | 27439 | 11415 | 18 | 36 | 0 | 0 | 70.52% | 4.6162 | 0.030722 | 150.2573
UT | Utah | 38908 | 3.777% | 5846212.682 | 268 | 1030158 | 51082 | 27439 | 11415 | 18 | 36 | 0 | 0 | 70.52% | 5.6751 | 0.037769 | 150.2573
UT | AMERICAN FORK | 2609 | 1.912% | 512453.639 | 28 | 136467 | 3340 | 438 | 2171 | 0 | 0 | 0 | 0 | 16.79% | 3.7551 | 0.019118 | 196.4176
UT | CEDAR CITY | 45 | 0.1118% | 8677.322 | 11 | 40260 | 195 | 8 | 37 | 0 | 0 | 0 | 0 | 17.78% | 0.21553 | 0.0011177 | 192.8294
UT | CEDAR CITY (MILFORD) | 526 | 17.87% | 13846.017 | 4 | 2944 | 238 | 526 | 0 | 0 | 0 | 0 | 0 | 100% | 4.7031 | 0.17867 | 26.3232
UT | JORDAN VALLEY | 10231 | 4.08% | 1517972.599 | 59 | 250789 | 10416 | 8290 | 1903 | 2 | 36 | 0 | 0 | 81.03% | 6.0528 | 0.040795 | 148.3699
UT | LAYTON | 314 | 0.3855% | 17106.183 | 8 | 81459 | 0 | 312 | 2 | 0 | 0 | 0 | 0 | 99.36% | 0.21 | 0.0038547 | 54.4783
UT | MOAB | 2 | 0.02086% | 131.95 | 2 | 9587 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 100% | 0.013763 | 0.00020862 | 65.975
UT | MONTPELIER | 2 | 0.05118% | 272.2 | 2 | 3908 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 100% | 0.069652 | 0.00051177 | 136.1
UT | OGDEN | 5625 | 4.76% | 1004475.627 | 33 | 118170 | 14326 | 3476 | 2146 | 3 | 0 | 0 | 0 | 61.8% | 8.5003 | 0.047601 | 178.5734
UT | PARK CITY | 3290 | 8.728% | 568692.377 | 5 | 37695 | 0 | 1360 | 1924 | 6 | 0 | 0 | 0 | 41.34% | 15.0867 | 0.087279 | 172.8548
UT | PRICE | 9 | 0.08535% | 1332.584 | 2 | 10545 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 100% | 0.12637 | 0.00085349 | 148.0649
UT | RICHFIELD | 335 | 2.018% | 28227.534 | 12 | 16602 | 0 | 333 | 2 | 0 | 0 | 0 | 0 | 99.4% | 1.7002 | 0.020178 | 84.2613
UT | RICHFIELD (DELTA) | 548 | 13.84% | 47396.933 | 5 | 3959 | 0 | 548 | 0 | 0 | 0 | 0 | 0 | 100% | 11.9719 | 0.13842 | 86.4908
UT | SLC METRO | 9682 | 4.129% | 1443547.602 | 69 | 234464 | 17693 | 6920 | 2755 | 7 | 0 | 0 | 0 | 71.47% | 6.1568 | 0.041294 | 149.096
UT | SMITHFIELD | 574 | 1.988% | 77003.099 | 11 | 28875 | 0 | 556 | 18 | 0 | 0 | 0 | 0 | 96.86% | 2.6668 | 0.019879 | 134.1517
UT | TOOELE | 1944 | 6.847% | 218202.366 | 10 | 28393 | 4874 | 1941 | 3 | 0 | 0 | 0 | 0 | 99.85% | 7.6851 | 0.068468 | 112.244
UT | TREMONTON | 2 | 0.0161% | 326.55 | 2 | 12425 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 50% | 0.026282 | 0.00016097 | 163.275
UT | VERNAL | 3170 | 24.73% | 386548.1 | 5 | 12817 | 0 | 2717 | 453 | 0 | 0 | 0 | 0 | 85.71% | 30.159 | 0.24733 | 121.9395
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2024-03-01 21:20 | through | 2024-03-03 17:29 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2020-03-17 | 1382 | 0.1448% | 304763.517 | 5 | 954372 | 0 | 43 | 1339 | 0 | 0 | 0 | 0 | 3.111% | 0.31933 | 0.0014481 | 220.5235
| 2020-03-18 | 54656 | 5.727% | 13736255.636 | 251 | 954372 | 11578 | 23171 | 31485 | 0 | 0 | 0 | 0 | 42.39% | 14.393 | 0.057269 | 251.322
Data as of
2024-03-12

## SSC by State
| Utah | Event |  | 2024-03-01 21:20 | through | 2024-03-03 17:29 |  | Month |  | 2024-03-01 | through | 2024-03-31 |  | YTD | FY2025 | 2024-01-01 | through | 2024-03-31
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 13.461 | 0.043402 | 310.1449 | 0.96027 | 0.0070122 | 136.9428 | 15.9159 | 0.071719 | 221.9201 | 2.9047 | 0.032681 | 88.8813 | 90.4811 | 0.28357 | 319.0782 | 18.5898 | 0.14414 | 128.9704
RMP | Rocky Mountain Power | 12.9569 | 0.046629 | 277.8711 | 0.21021 | 0.0014781 | 142.2153 | 13.8993 | 0.061404 | 226.3575 | 1.0836 | 0.016076 | 67.4057 | 25.3406 | 0.16451 | 154.033 | 12.5249 | 0.11919 | 105.0876
UT | Utah | 5.8522 | 0.039016 | 149.9945 | 0.17717 | 0.0012474 | 142.0359 | 6.8116 | 0.05379 | 126.6334 | 1.1365 | 0.016021 | 70.9403 | 17.8591 | 0.15465 | 115.4788 | 12.1841 | 0.11688 | 104.2407
UT | AMERICAN FORK | 0.49818 | 0.0025404 | 196.1047 | 0.00073034 | 7.7658e-06 | 94.0459 | 0.5124 | 0.002654 | 193.0708 | 0.014951 | 0.00012134 | 123.2159 | 0.85874 | 0.0058603 | 146.5361 | 0.36129 | 0.0033276 | 108.572
UT | CEDAR CITY | 0.0084233 | 4.3683e-05 | 192.8294 |  |  |  | 0.014955 | 0.00010678 | 140.0584 | 0.0065321 | 6.3097e-05 | 103.5246 | 1.0971 | 0.0059661 | 183.8837 | 1.0886 | 0.0059224 | 183.8178
UT | CEDAR CITY (MILFORD) | 0.013894 | 0.00051351 | 27.0569 | 0.00045339 | 2.9122e-06 | 155.689 | 0.014494 | 0.00051837 | 27.9618 | 0.0010538 | 7.7658e-06 | 135.6958 | 0.091117 | 0.000829 | 109.912 | 0.077676 | 0.0003184 | 243.9599
UT | EVANSTON | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.013975 | 0.00020676 | 67.5911 | 0.013975 | 0.00020676 | 67.5911
UT | JORDAN VALLEY | 1.5264 | 0.010454 | 146.0128 | 0.052845 | 0.00052225 | 101.1872 | 1.6124 | 0.011257 | 143.2423 | 0.13888 | 0.001325 | 104.8096 | 3.4954 | 0.032487 | 107.5938 | 2.0219 | 0.022556 | 89.6398
UT | LAYTON | 0.033161 | 0.00035529 | 93.3374 | 0.016556 | 5.0478e-05 | 327.9869 | 0.20249 | 0.0012872 | 157.3153 | 0.18589 | 0.00098237 | 189.2232 | 0.45223 | 0.0030859 | 146.5469 | 0.43563 | 0.0027811 | 156.6375
UT | MOAB | 0.00012809 | 1.9414e-06 | 65.975 | 0 | 0 | 0 | 0.0002339 | 2.9122e-06 | 80.3167 | 0.00010581 | 9.7072e-07 | 109 | 0.0071344 | 3.4946e-05 | 204.1542 | 0.0070063 | 3.3005e-05 | 212.2824
UT | MONTPELIER | 0.0010976 | 2.9122e-06 | 376.8833 | 0.00083332 | 9.7072e-07 | 858.45 | 0.0021928 | 9.7072e-06 | 225.8933 | 0.0019286 | 7.7658e-06 | 248.3416 | 0.14864 | 0.0016852 | 88.2043 | 0.14838 | 0.0016832 | 88.1491
UT | OGDEN | 0.97726 | 0.0054759 | 178.4666 | 0.0021883 | 1.5532e-05 | 140.8959 | 1.0733 | 0.005768 | 186.0838 | 0.098271 | 0.00030772 | 319.3512 | 3.4098 | 0.017666 | 193.0098 | 2.4347 | 0.012206 | 199.468
UT | PARK CITY | 0.55307 | 0.0032053 | 172.5483 | 0.001031 | 1.1649e-05 | 88.5069 | 0.56013 | 0.0032383 | 172.9698 | 0.0080908 | 4.4653e-05 | 181.192 | 0.96154 | 0.0058088 | 165.5312 | 0.4095 | 0.0026151 | 156.5873
UT | PRICE | 0.0012936 | 8.7365e-06 | 148.0649 | 0 | 0 | 0 | 0.048683 | 0.00026889 | 181.0528 | 0.04739 | 0.00026015 | 182.1606 | 0.28569 | 0.0027229 | 104.9206 | 0.28439 | 0.0027141 | 104.7817
UT | RICHFIELD | 0.028099 | 0.00038732 | 72.5475 | 0.00069787 | 6.2126e-05 | 11.233 | 0.028893 | 0.00040188 | 71.895 | 0.001492 | 7.6687e-05 | 19.4554 | 0.20817 | 0.0026345 | 79.0165 | 0.18077 | 0.0023094 | 78.278
UT | RICHFIELD (DELTA) | 0.046061 | 0.00053293 | 86.4299 | 5.1545e-05 | 9.7072e-07 | 53.1 | 0.055879 | 0.00058535 | 95.4622 | 0.0098692 | 5.339e-05 | 184.8509 | 0.099865 | 0.0011057 | 90.3222 | 0.053856 | 0.0005737 | 93.8748
UT | SLC METRO | 1.4372 | 0.0097199 | 147.8604 | 0.035896 | 0.00032131 | 111.7187 | 1.7895 | 0.01245 | 143.7393 | 0.3882 | 0.003051 | 127.2381 | 4.5807 | 0.047514 | 96.4081 | 3.1795 | 0.038116 | 83.4162
UT | SMITHFIELD | 0.074835 | 0.00055817 | 134.073 | 8.6297e-05 | 9.7072e-07 | 88.9 | 0.14388 | 0.0025064 | 57.405 | 0.069132 | 0.0019492 | 35.4665 | 0.94496 | 0.0084385 | 111.9813 | 0.87021 | 0.0078813 | 110.4139
UT | TOOELE | 0.27762 | 0.0021375 | 129.8775 | 0.065803 | 0.00025045 | 262.744 | 0.37073 | 0.0096267 | 38.5108 | 0.15892 | 0.0077396 | 20.533 | 0.59769 | 0.014154 | 42.2273 | 0.38588 | 0.012267 | 31.4563
UT | TREMONTON | 0.00031699 | 1.9414e-06 | 163.275 | 0 | 0 | 0 | 0.0059816 | 3.1063e-05 | 192.562 | 0.0056646 | 2.9122e-05 | 194.5144 | 0.16038 | 0.0008853 | 181.1594 | 0.16006 | 0.00088336 | 181.1987
UT | VERNAL | 0.37523 | 0.0030772 | 121.9395 | 0 | 0 | 0 | 0.37539 | 0.0030782 | 121.9528 | 0.00015956 | 9.7072e-07 | 164.367 | 0.44601 | 0.0035674 | 125.0244 | 0.070782 | 0.00049022 | 144.3896
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as of
2024-03-12