## Attach ECAM MFR 15-1
[7 empty] | Avg |  |  | 8.4282 | 5.5834 | 11.3179 | 7.5461 | [10 empty] | Discount Rate | 6.88%
[8 empty] | Base (aMW) |  | Delta (aMW)
100 MW of Resource, 50% East/West based on resources in each year | [9 empty] | Wind | Wind | Solar | Solar
| Solar | Solar | Solar Integration | Wind | Wind | Wind Integration |  | Reg Req | Reg Req | Reg Req | Reg Req | Reg Req | Reg Req | 2019 IRP Wind and Solar Integration Costs | [5 empty] | Flat Reserve
Year | Reserve $ | MWh | $/MWh | Reserve $ | MWh | $/MWh |  | East | West | East | West | East | West | $/MWh | Wind (19IRP) | Solar (19IRP) | Wind (21IRP) | Solar (21IRP) |  | East | West | Avg | Table F.2 - 2021 FRS Flexible Resources Costs as Compared to 2019 Costs
2018 | [13 empty] | 2018 | 0.5 | 0.41 |  |  |  | $/MWh | $/MWh |  |  | Wind 2019 FRS | Solar 2019 FRS | Wind 2021 FRS | Solar 2021 FRS
2019 | [13 empty] | 2019 | 0.3 | 0.25 | [6 empty] | $/MWh | (2018$) | (2018$) | (2020$) | (2020$)
2020 | [13 empty] | 2020 | 0.39 | 0.31 | [6 empty] | Study Period | 2018-2036 | 2018-2036 | 2023-2040 | 2023-2040
2021 | 2424386.2157 | 204099.7198 | 11.8784 | 2067608.6259 | 308254.6935 | 6.7075 |  | 562.3648 | 227.9987 | 7.6025 | 3.315 | 10.2269 | 5.2366 | 2021 | 0.19 | 0.15 |  |  |  | 21.2415 | 20.8688 |  | Flexible Resource Cost | 1.11 | 0.85 | 1.3011 | 1.0896
2022 | 2117573.6275 | 195322.3083 | 10.8414 | 1536482.1432 | 316773.303 | 4.8504 |  | 571.8256 | 212.68 | 10.2529 | 3.6246 | 12.5311 | 7.2316 | 2022 | 0.27 | 0.22 |  |  |  | 15.5453 | 12.5311
2023 | 1093727.5716 | 180193.4399 | 6.0697 | 741660.5352 | 315704.0278 | 2.3492 |  | 623.2627 | 213.607 | 6.5328 | 3.6274 | 11.9891 | 7.223 | 2023 | 0.29 | 0.24 | 2.3492 | 6.0697 |  | 13.4961 | 9.8785
2024 | 381882.5027 | 198769.8661 | 1.9212 | 644182.4804 | 318064.0456 | 2.0253 |  | 623.6989 | 199.977 | 7.791 | 3.2298 | 11.6224 | 7.7512 | 2024 | 0.35 | 0.29 | 2.0253 | 1.9212 |  | 7.5373 | 6.1504 |  | Figure F.11 - Incremental Wind and Solar Regulation Reserve Costs
2025 | 247936.8438 | 203655.2728 | 1.2174 | 868868.9843 | 319819.3944 | 2.7167 |  | 913.56 | 200.3014 | 7.5319 | 3.2178 | 11.2967 | 7.7836 | 2025 | 0.61 | 0.5 | 2.7167 | 1.2174 |  | 8.3846 | 6.1009
2026 | 189942.7654 | 208095.814 | 0.91277 | 952779.226 | 331079.0713 | 2.8778 |  | 904.7694 | 329.4591 | 7.9854 | 6.3254 | 10.9811 | 7.8233 | 2026 | 0.45 | 0.37 | 2.8778 | 0.91277 |  | 7.1765 | 3.4369
2027 | 493446.0744 | 208171.4966 | 2.3704 | 1086154.5551 | 331183.7229 | 3.2796 |  | 909.1442 | 330.0949 | 8.0058 | 6.3402 | 17.9463 | 7.7894 | 2027 | 0.69 | 0.56 | 3.2796 | 2.3704 |  | 8.2818 | 3.9413
2028 | 497064.0457 | 213930.2516 | 2.3235 | 1144394.8313 | 332735.7643 | 3.4394 |  | 912.2193 | 327.3541 | 8.0535 | 5.9581 | 18.1077 | 8.2992 | 2028 | 0.93 | 0.76 | 3.4394 | 2.3235 |  | 8.673 | 3.6409
2029 | 85253.5236 | 213620.4014 | 0.39909 | 599829.6001 | 333576.9003 | 1.7982 |  | 883.8406 | 313.2925 | 7.9976 | 6.209 | 10.9259 | 8.5073 | 2029 | 1.29 | 1.05 | 1.7982 | 0.39909 |  | 4.3682 | 2.4056
2030 | 123345.6037 | 227071.6694 | 0.5432 | 554000.5784 | 335920.2253 | 1.6492 |  | 931.3719 | 298.4461 | 9.1396 | 6.6534 | 11.277 | 6.7545 | 2030 | 1.61 | 1.31 | 1.6492 | 0.5432 |  | 4.2276 | 1.1566
2031 | 47005.7539 | 231172.5429 | 0.20334 | 166847.5906 | 335920.2253 | 0.49669 |  | 934.1093 | 299.457 | 8.2984 | 6.6563 | 11.2637 | 6.7872 | 2031 | 1.63 | 1.32 | 0.49669 | 0.20334 |  | 1.2601 | 0.59299
2032 | 62412.117 | 233074.963 | 0.26778 | 222833.1281 | 339537.1844 | 0.65628 |  | 935.7351 | 393.4034 | 8.3704 | 6.2643 | 11.1579 | 8.952 | 2032 | 1.74 | 1.42 | 0.65628 | 0.26778 |  | 1.4538 | 0.90663
2033 | 27303.8073 | 236202.7795 | 0.11559 | 59754.8651 | 339718.3019 | 0.1759 |  | 902.42 | 394.3202 | 8.9681 | 6.2728 | 10.2556 | 8.9637 | 2033 | 1.79 | 1.45 | 0.1759 | 0.11559 |  | 0.33399 | 0.19661
2034 | 27470.422 | 237407.4371 | 0.11571 | 43907.5265 | 340526.0914 | 0.12894 |  | 890.0533 | 392.2704 | 8.9472 | 6.3142 | 10.026 | 8.9118 | 2034 | 1.75 | 1.42 | 0.12894 | 0.11571 |  | 0.27097 | 0.13101
2035 | 30945.5261 | 237637.7759 | 0.13022 | 58814.1013 | 340526.0914 | 0.17272 |  | 892.0478 | 392.1667 | 8.8805 | 6.3216 | 10.0084 | 8.8633 | 2035 | 1.72 | 1.4 | 0.17272 | 0.13022 |  | 0.33558 | 0.185
2036 | 28693.7791 | 238218.3277 | 0.12045 | 51000.3678 | 343107.2368 | 0.14864 |  | 869.9431 | 393.3748 | 8.7694 | 6.3725 | 9.7939 | 8.8814 | 2036 | 1.58 | 1.28 | 0.14864 | 0.12045 |  | 0.29891 | 0.14981
2037 | 11679.5647 | 245601.8799 | 0.047555 | 11309.3387 | 341502.4087 | 0.033116 |  | 865.7598 | 395.6569 | 8.9453 | 6.2705 | 9.1237 | 8.8536 | 2037 |  |  | 0.033116 | 0.047555 |  | 0.09327 | 0.0069701
2038 | 11440.3832 | 247685.8641 | 0.046189 | 10631.1971 | 341502.4087 | 0.031131 |  | 868.6906 | 396.3412 | 8.9009 | 6.3432 | 9.1606 | 8.8451 | 2038 |  |  | 0.031131 | 0.046189 |  | 0.083715 | 0.0059939
2039 | 12067.0049 | 251081.2802 | 0.04806 | 11389.1626 | 341502.4087 | 0.03335 |  | 872.1973 | 397.2758 | 8.7797 | 6.4411 | 9.2683 | -0.67038 | 2039 |  |  | 0.03335 | 0.04806 |  | 0.097285 | 0.0050995
2040 | 86913.9267 | 250294.0808 | 0.34725 | 48840.34 | 343961.9972 | 0.14199 |  | 882.4509 | 387.0556 | 8.8103 | 5.9099 | 9.3956 | 8.1355 | 2040 |  |  | 0.14199 | 0.34725 |  | 2.546 | 0.00035953
Levelized (2020$)
[19 empty] | 2023-2040 | 4.1505 | 2.4865 | 3.3185 | $/MWh
[20 empty] | 36.358 | 21.7815 | 29.0698 | $/kw-yr