EBA Additional Filing Requirement 8

Please provide the estimated wind integration costs in the energy balancing account (EBA) period and supporting documentation for the calculations.

Response to EBA Additional Filing Requirement 8

The Company acknowledges that this additional filing requirement (AFR) references “wind integration costs”. However, the 2021 Integrated Resource Plan (IRP) integration study, known as the Flexible Reserve Study (FRS), identifies wind regulation reserve costs and solar regulation reserve costs. Based on the foregoing, the Company responds as follows:

The 2021 FRS estimated the wind and solar regulation reserve costs by year. For calendar year 2024, wind regulation reserve costs were estimated to be $2.03 per megawatt-hour ($/MWh), and solar regulation reserve costs were estimated to be $1.92/MWh, both in 2024 dollars (2024$). The Company does not separately identify wind integration costs or solar integration costs in its actual net power costs (NPC). Please refer to Attachment EBA AFR 8-1 and Confidential Attachment EBA AFR 8-2 which provide the results of the 2021 FRS. These files were previously provided on the data disks accompanying PacifiCorp’s 2021 IRP, specifically the work papers supporting Appendix F (Flexible Reserve Study).

PacifiCorp’s 2021 IRP, specifically Volume II, Appendix F (Flexible Reserve Study), reported updated wind and solar integration costs for future periods beginning in 2023 and the values for 2024 referenced above may be seen in Figure F.11. PacifiCorp’s 2021 IRP is publicly available and can be accessed by utilizing the following website link:

https://www.pacificorp.com/content/dam/pcorp/documents/en/pacificorp/energy/integrated-resource-plan/2021-irp/Volume%20II%20-%209.15.2021%20Final.pdf

Note: PacifiCorp’s 2023 IRP, specifically Volume II, Appendix F (Flexible Reserve Study), reported updated wind and solar integration costs for future periods beginning in 2025. PacifiCorp’s 2023 IRP is publicly available and can be accessed via the following website link:

https://www.pacificorp.com/content/dam/pcorp/documents/en/pacificorp/energy/integrated-resource-plan/2023-irp/2023_IRP_Volume_II_Final_5-31-23.pdf