## Table of Contents
Table G.1
Table G.2
Table G.3
Table G.4

## Table G.1
PACIFICORP ENERGY THERMAL GENERATION
NET WATER CONSUMPTION
Plants Owned and Operated by PacifiCorp
Total water consumption and generation includes all owners for jointly-owned facilities
Base Year | 2023
|  |  | Acre-Feet Per Year | [6 empty] | Net MWhs Per Year |  |  |  | 4-year Average
Plant Name | Zero Discharge | Cooling Media | 2020 | 2021 | 2022 | 2023 | 4-year Average | Generation Capacity (MW) | Acre-ft/MW | 2020 | 2021 | 2022 | 2023 | Gals/ MWH | GPM/ MW | 4 year avg (Gallons/Net GWh) | 2023 Rate (Gallons/Net GWh)
Chehalis |  | Air | 66 | 71 | 47 | 44.6696 | 57.1674 | 477 | 0.11985 | 2407519 | 2248237 | 2172465 | 2239346 | 8.2174 | 0.13696 | 8217.4444 | 6499.9528
Currant Creek | Yes | Air | 95 | 113 | 85 | 132.6004 | 106.4001 | 524.2 | 0.20298 | 2335426 | 2746290 | 2805979 | 2879943 | 12.8795 | 0.21466 | 12879.5478 | 15003.0625
Dave Johnston |  | Water | 7856 | 6571 | 5901 | 12770.0745 | 8274.5186 | 745 | 11.1067 | 4325604 | 3601242 | 3581919 | 3537695 | 716.7826 | 11.9464 | 716782.5959 | 1176229.5873
Gadsby |  | Water | 409 | 339 | 454 | 183.8307 | 346.4577 | 356.3 | 0.97238 | 133410 | 83008 | 118821 | 236930 | 789.2324 | 13.1539 | 789232.3882 | 252823.2149
Hunter | Yes | Water | 15103 | 16326 | 13426 | 8788 | 13410.75 | 1363 | 9.8391 | 7988203 | 9248963 | 7381184 | 3410309 | 623.634 | 10.3939 | 623634.0166 | 839683.0281
Huntington | Yes | Water | 7929 | 12019 | 11717 | 7426.98 | 9772.995 | 909 | 10.7514 | 4515305 | 6263658 | 5673115 | 3400758 | 641.6293 | 10.6938 | 641629.2753 | 711632.1891
Jim Bridger | Yes | Water | 18184 | 19103 | 19076 | 15054.3761 | 17854.344 | 2119 | 8.4258 | 10458575 | 10342840 | 10662019 | 6075458 | 619.9284 | 10.3321 | 619928.3509 | 807426.1231
Lakeside |  | Water | 4075 | 4421 | 4591 | 4434.6 | 4380.4 | 1177.4 | 3.7204 | 5560112 | 6389355 | 6578673 | 6456506 | 228.5176 | 3.8086 | 228517.5816 | 223808.1781
Naughton | Yes | Water | 7622 | 7236 | 6929 | 7570 | 7339.25 | 647 | 11.3435 | 2659033 | 2596446 | 2456201 | 2766289 | 912.9639 | 15.2161 | 912963.9348 | 891697.169
Wyodak | Yes | Air | 336 | 333 | 324 | 283.2559 | 319.064 | 332 | 0.96104 | 1732784 | 1717528 | 1779843 | 1282117 | 63.8593 | 1.0643 | 63859.3214 | 71989.7076
TOTAL |  |  | 61675 | 66532 | 62550 | 56688.3871 | 61861.3468 |  |  | 42115971 | 45237567 | 43210219 | 32285351 | 495.1229 | 8.252
1 acre-foot of water is equivalent to:
| 325851 | Gallons
| 43560 | Cubic Feet
* Beginning in 2014, net water consumed reflects "Raw Water Consumed" instead of "Raw Water Diversion"
** Gadsby includes a mix of both Rankine steam units and Brayton peaking gas turbines

## Table G.2
PACIFICORP ENERGY THERMAL GENERATION
NET WATER CONSUMPTION (acre-feet)
By State
UTAH PLANTS
Plant Name | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
Currant Creek | 116 | 110 | 101 | 95 | 113 | 85 | 132.6004
Gadsby | 100 | 205 | 281 | 409 | 339 | 454 | 183.8307
Hunter | 15383 | 14751 | 15808 | 15103 | 16326 | 13426 | 8788
Huntington | 9653 | 9804 | 9028 | 7929 | 12019 | 11717 | 7426.98
Lakeside | 2698 | 3648 | 3894 | 4075 | 4421 | 4591 | 4434.6
TOTAL | 27950 | 28518 | 29112 | 27611 | 33218 | 30273 | 20966.011
|  | Percent of total water consumption = | 44.43%
WYOMING PLANTS
Plant Name | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
Dave Johnston | 8231 | 8325 | 8485 | 7856 | 6571 | 5901 | 12770.0745
Jim Bridger | 19047 | 20067 | 19893 | 18184 | 19103 | 19076 | 15054.3761
Naughton | 6927 | 9916 | 10195 | 7622 | 7236 | 6929 | 7570
Wyodak | 332 | 319 | 292 | 336 | 333 | 324 | 283.2559
TOTAL | 34537 | 38627 | 38865 | 33998 | 33243 | 32230 | 35677.7065
|  | Percent of total water consumption = | 55.57%

## Table G.3
PACIFICORP ENERGY THERMAL GENERATION
WATER CONSUMPTION REPORT (acre-feet)
By Fuel Type
COAL FIRED PLANTS
Plant Name | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
Dave Johnston | 8231 | 8325 | 8485 | 7856 | 6571 | 5901 | 12770.0745
Hunter | 15383 | 14751 | 15808 | 15103 | 16326 | 13426 | 8788
Huntington | 9653 | 9804 | 9028 | 7929 | 12019 | 11717 | 7426.98
Jim Bridger | 19047 | 20067 | 19893 | 18184 | 19103 | 19076 | 15054.3761
Naughton | 6927 | 9916 | 10195 | 7622 | 7236 | 6929 | 7570
Wyodak | 332 | 319 | 292 | 336 | 333 | 324 | 283.2559
TOTAL | 59573 | 63182 | 63701 | 57030 | 61588 | 57373 | 51892.6865
|  | Percent of total water consumption = | 93.07%
NATURAL GAS FIRED PLANTS
Plant Name | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
Currant Creek | 116 | 110 | 101 | 95 | 113 | 85 | 132.6004
Chehalis | 54 | 33 | 63 | 66 | 71 | 47 | 44.6696
Gadsby | 100 | 205 | 281 | 409 | 339 | 454 | 183.8307
Lakeside | 2698 | 3648 | 3894 | 4075 | 4421 | 4591 | 4434.6
TOTAL | 2968 | 3996 | 4339 | 4645 | 4944 | 5177 | 4795.7007
|  | Percent of total water consumption = | 6.933%

## Table G.4
PACIFICORP ENERGY THERMAL GENERATION
WATER CONSUMPTION REPORT (acre-feet)
Plants Located in the Upper Colorado River Basin
Plant Name | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
Hunter | 15383 | 14751 | 15808 | 15103 | 16326 | 13426 | 8788
Huntington | 9653 | 9804 | 9028 | 7929 | 12019 | 11717 | 7426.98
Naughton | 6927 | 9916 | 10195 | 7622 | 7236 | 6929 | 7570
Jim Bridger | 19047 | 20067 | 19893 | 18184 | 19103 | 19076 | 15054.3761
TOTAL | 51010 | 54538 | 54924 | 48838 | 54684 | 51148 | 38839.3561
|  | Percent of total water consumption = | 79.58%