## Data Tables
Mitigation Program Category | Objective Items | 2020 Objectives (Goals) | 2020 Achievements (Actuals) | 2021 Objectives (Goals) | 2021 Achievements (Actuals) | 2022 Objectives (Goals) | 2022 Achievements (Actuals) | 2023 Objectives (Goals) | 2023 Achievements (Actuals) | 2024 Objectives (Goals) | 2024 Achievements (Actuals) | 2025 Objectives (Goals)
Risk Modeling & Drivers | Projects with Risk score assigned (EOY) % (Note: Risk scores were not available until 2024) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 100% | 100% | 100%
Risk Modeling & Drivers | Projects with Risk score assigned during Yr - Count (Note: Risk scores were not available until 2024) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | ??? | ??? | ??? | Additional Element added by DPU to clarify the data element on row 2 above
Risk Modeling & Drivers | Projects Completed - Count: (Note: Assumed line rebuild; values provided in miles) | 60 | 11.5 | 80 | 14.6 | 80 | 39.2 | 80 | 49 | 80 | 102.2 | 100
Risk Modeling & Drivers | Median Risk Score of completed projects | N/A | 0.205 | N/A | 0.36 | N/A | 0.31 | N/A | 0.33 | N/A | 0.31 | N/A
Risk Modeling & Drivers | Median Risk Score of outstanding projects (EOY) (Note: Outstanding assumed to be all remaining Circuits in FHCA) | 0.232 | N/A | 0.232 | N/A | 0.232 | N/A | 0.232 | N/A | 0.232 | N/A | 0.232 | Outstanding projects include projects started and not completed by year-end as well as projects planned but not started.
Risk Modeling & Drivers | Risk Score Range of outstanding projects (EOY) | (0.027, 0.909) | N/A | (0.027, 0.909) | N/A | (0.027, 0.909) | N/A | (0.027, 0.909) | N/A | (0.027, 0.909) | N/A | (0.027, 0.909)
Inspection & Correction Program | Distribution Visual Safety (Inspected FHCA Poles): | 15159 | 15159 | 17148 | 17148 | 15071 | 15071 | 16117 | 16117 | 40961 | 40961 | 42877
Inspection & Correction Program | Transmission Visual Safety (Inspected FHCA Poles): | 20652 | 20652 | 21406 | 21406 | 19957 | 19957 | 20594 | 20594 | 51882 | 51882 | 57832
Inspection & Correction Program | Distribution Detail (Inspected FHCA Poles): | 0 | 0 | 0 | 0 | 825 | 825 | 1314 | 1314 | 1672 | 1672 | 3317
Inspection & Correction Program | Transmission Detail (Inspected FHCA Poles): | 7489 | 7489 | 3553 | 3553 | 8314 | 8314 | 4510 | 4510 | 17663 | 17663 | 16189
Inspection & Correction Program | Distribution Intrusive (Inspected FHCA Poles): | 0 | 0 | 2280 | 2280 | 3255 | 3255 | 1997 | 1997 | 5874 | 5874 | 6313
Inspection & Correction Program | Tansmission Intrusive (Inspected FHCA Poles): | 1592 | 1592 | 6246 | 6246 | 107 | 107 | 0 | 0 | 4795 | 4795 | 1377
Inspection & Correction Program | Miles of Idle Transmission lines at End of Year (EOY) | N/A | 118 | N/A | 118 | N/A | 118 | N/A | 118 | N/A | 118 | 95.48
Inspection & Correction Program | Miles of Idle Distribution lines at End of Year (EOY) | N/A | 54 | N/A | 54 | N/A | 54 | N/A | 54 | N/A | 54 | 33.93
Inspection & Correction Program | Miles of IR Inspect on Trans lines: | 0 | 0 | 200 | 200 | 230 | 230 | 1638 | 1077 | 1638 | 1638 | 4427
Inspection & Correction Program | Conditions Corrected in HFCA (ERR and Power Only; current FHCA retroactive to all years) | NA | 1291 | NA | 1681 | NA | 1625 | NA | 1382 | NA | 3209 | NA
Vegetation Management | Distribution Line-Miles Inspected: | 1212 | 1212 | 1209 | 1209 | 1209 | 1209 | 1198 | 1198 | 1172 | 1172 | 1172
Vegetation Management | Transmission Line-Miles Inspected: | 195 | 195 | 218 | 218 | 218 | 218 | 218 | 218 | 890 | 890 | 890
Vegetation Management | Total Line-Miles Inspected: | 1407 | 1407 | 1427 | 1427 | 1427 | 1427 | 1416 | 1416 | 2062 | 2062 | 2062
Vegetation Management | Trees Trimmed/pruned: | n/a based on inspections | 4746 | n/a based on inspections | 12665 | n/a based on inspections | 11723 | n/a based on inspections | 7154 | n/a based on inspections | 6439 | n/a based on inspections
Vegetation Management | Trees Removed (Included brush equiv): | n/a based on inspections | 971 | n/a based on inspections | 1942 | n/a based on inspections | 1358 | n/a based on inspections | 805 | n/a based on inspections | 1109 | n/a based on inspections
Vegetation Management | Poles Radially Cleared: | 5033 | 4712 | 4603 | 5073 | 4737 | 4794 | 4305 | 4603 | 12529 | 12930 | 12615
Environmental Program | Nests Managed: | n/a | 83 | n/a | 42 | n/a | 66 | n/a | 105 | n/a | 76 | n/a
Environmental Program | Poles Retrofitted: | 2670 | 2866 | 2000 | 2423 | 2776 | 3996 | 3095 | 3429 | 3068 | 4907 | 3524
Environmental Program | Nestboxes maintained: | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500 | 500 | 500 | 500
System Hardening | Miles of Transmission Line - Undergrounding | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
System Hardening | Miles of Transmission Line - Covered Conductor | 3.8 | 3.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
System Hardening | Miles of Transmission Line - Other | 11.2 | 7.7 | 15 | 0 | 15 | 11 | 18 | 12 | 20 | 8.2 | 20
System Hardening | Total Miles of Transmission Line Rebuild Constructed: | 15 | 11.5 | 15 | 0 | 15 | 11 | 18 | 12 | 20 | 8.2 | 20
System Hardening | Miles of Distribution Line - Undergrounding | 20 | 0 | 30 | 10.4 | 30 | 28.2 | 17 | 11 | 20 | 40.6 | 30
System Hardening | Miles of Distribution Line - Covered Conductor | 25 | 0 | 35 | 4.2 | 35 | 0 | 45 | 26 | 40 | 53.4 | 50
System Hardening | Miles of Distribution Line - Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
System Hardening | Total Miles of Distribution Line Rebuild Constructed: | 45 | 0 | 65 | 14.6 | 65 | 28.2 | 62 | 37 | 60 | 94 | 80
System Hardening | Total Miles of Line Rebuild Constructed: | 60 | 11.5 | 80 | 14.6 | 80 | 39.2 | 80 | 49 | 80 | 102.2 | 100
System Hardening | Distribution Relays Upgraded: | 21 | 21 | 16 | 9 | 30 | 7 | 22 | 28 | 18 | 19 | 10
System Hardening | Transmission Relays Upgraded: | 12 | 12 | 10 | 0 | 4 | 2 | 18 | 16 | 0 | 6 | 0
System Hardening | Recloser Replacements: | 0 | 0 | 6 | 1 | 6 | 7 | 6 | 22 | 10 | 57 | 10
System Hardening | Total Relays and Reclosers Upgraded: | 33 | 33 | 32 | 10 | 40 | 16 | 46 | 66 | 28 | 82 | 20
System Hardening | Expulsion Fuses Replaced: | 289 | 289 | 1497 | 980 | 1254 | 1667 | 1770 | 1790 | 2000 | 2921 | 2000
System Hardening | Communicating Fault Indicators Installed: | 0 | 0 | N/A | 449 | N/A | 1387 | N/A | 79 | N/A | 166 | 991
System Hardening | Weather Stations Installed: | 21 | 21 | 10 | 10 | 65 | 65 | 25 | 25 | 25 | 47 | 10
System Hardening | Fire Mesh Wrap Installations: | 400 | 90 | 400 | 340 | 400 | 0 | 400 | 732 | 400 | 830 | 800
Situational Awareness Program | Weather Stations Maintenance Completed: | 11 | 11 | 21 | 21 | 39 | 39 | 105 | 105 | 130 | 130 | 177
Situational Awareness Program | Weather Stations (End of Year Count Including Portable Stations) | 21 | 21 | 39 | 39 | 105 | 105 | 130 | 130 | 155 | 177 | 187
Situational Awareness Program | HPCC's Installed: | n/a | n/a | 2 | 2 | 2 | 2 | 2 | 2 | 5 | 5 | 5
Situational Awareness Program | Wildfire Detection Cameras Installed: | 14 | 0 | 0 | 14 | 0 | 0 | 0 | 0 | 5 | 5 | 0
Situational Awareness Program | Wildfire Detection Cameras Maintained: | 0 | 0 | 0 | 0 | 14 | 14 | 14 | 14 | 14 | 0 | 5
System Operations | # Safety Settings Deployed: | N/A | N/A | N/A | 29 | N/A | 131 | N/A | 188 | N/A | 340 | N/A
Field Operations & Work Practices | Emergency De-energizations: | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 24 | N/A
Field Operations & Work Practices | COW and Starlink Devices Purchased | n/a | 0 | 0 | 0 | 1 | 1 | 1 | 6 starlink devices | 26 starlink devices | 26 starlink devices | 10 Starlink devices
Field Operations & Work Practices | Fire Vehicles Purchased: | n/a | 0 | n/a | 2 | n/a | 21 | n/a | 19 | n/a | 1 | n/a
Public Safety Power Shutoff (PSPS) Program | PSPS Events Conducted: | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Public Safety Power Shutoff (PSPS) Program | PSPS Watch Events where ECC was Activated: | n/a | 2 | n/a | 2 | n/a | 1 | n/a | 0 | n/a | 0 | n/a
Emergency Management Wildfire Response | Entities(cities, counties, agencies, etc) that participated in training events | N/A | Cedar City Fire Department, North Fork Fire District, Summit, Wasatch, Utah, and Iron Counties Emergency Managers | N/A | Iron, Salt Lake, Utah, Wasatch and Summit Counites | N/A | Washington, Iron, Beaver, Santaquin, Sanpete, Sevier, San Juan, Grand, Summit, Wasatch counties | N/A | Washington, Iron, Beaver, Santaquin, Sanpete, Sevier, San Juan, Grand, Utah, Juab, Milliars, Carbon, Emery, Salt Lake, Tooele, Summit, Wasatch, Davis, Morgan, Weber, Vernal, Cache, Box Elder counties | N/A | Uintah, Millard, Sanpete, Sevier, Piute, Garfield, Juab, Utah, Carbon, Emery, Grand, San Juan,Washington, Salt Lake, Davis, Tooele, Rich, Cache, Box Elder, Summit, Wasatch. Iron, Beaver counties; State of Utah, State partners, Forestry Wardens, FMOs, Public (webinar) | N/A
Public Safety Partner Coordination Strategy | Tabletop Exercises Hosted: | N/A | 0 | N/A | 1 | N/A | 3 | N/A | 11 | N/A | 3 | N/A
Public Safety Partner Coordination Strategy | Other Outreach and Training Events Conducted: | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 5 | N/A | 12 | N/A
Public Safety Partner Coordination Strategy | Total Events Conducted: | 0 | 0 | 0 | 1 | 0 | 3 | 0 | 16 | 0 | 15 | 0
Wildfire Safety & Preparedness Engagement Strategy | Community Webinars Conducted: | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Wildfire Safety & Preparedness Engagement Strategy | Community Events: | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 4
Wildfire Safety & Preparedness Engagement Strategy | Total Wildfire Safety and Preparedness Engagement Events: | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 5
Industry Collaboration | Number of notable Associations currently collaborating with: | N/A | 6 | N/A | 6 | N/A | 7 | N/A | 9 | N/A | 9 | N/A
Plan Monitoring & Implementation | Number of ignitions in HFCA Areas (Non utility-caused) | N/A | * | N/A | * | N/A | * | N/A | * | N/A | ** 369 | N/A
Plan Monitoring & Implementation | Number of ignitions in Non-HFCA Areas (Non utility-caused) | N/A | * | N/A | * | N/A | * | N/A | * | N/A | ** 209 | N/A
Plan Monitoring & Implementation | Number of utility-caused ignitions in HFCA Areas | 0 | 4 | 0 | 10 | 0 | 14 | 0 | 16 | 0 | 14 | 0
Plan Monitoring & Implementation | Number of utility-caused ignitions in Non-HFCA Areas | 0 | 51 | 0 | 21 | 0 | 49 | 0 | 34 | 0 | 38 | 0
* Data for calender years 2020 through 2023 is unavailable because the Company did not track non-utility caused wildfires until 2024. In addition, many wildfires never reach a point of action and are thus not recorded. Also, the Company notes that there are no goals for non-utility caused ignitions.
** Data includes both 2024 and 2025 through September 5, 2025. Tracking only ignitions at or near RMP facilities.
Assumption 1: only ignitions originating from, or alleged to have originated from Company assets that extended to additional fuel sources (e.g., vegetation) were considered.
Assumption 2: Reliability of data diminishes over time, largely due to historical differences in processes and data collection practices. Current year (2025) is considered most accurate.

## Costs Data Tables
Mitigation Program Category |  | Objective Items ($ Millions) | 2020 Plan (Approved) | 2020 Actuals | 2021 (Approved) | 2021 Actuals | 2022 (Approved) | 2022 Actuals | 2023 (Approved) | 2023 Actuals | 2024 (Approved) | 2024 Actuals | 2025 (Approved) | 2025 Forecast - From 2024 Report
Risk Modeling & Drivers | Capital Spend | Distribution Costs | 0 | 0 | 0 | 1.1 | 0 | 1.7 | 0 | 2.3 | 0 | 2.4 | 0 | 0.6
Risk Modeling & Drivers | Capital Spend | Transmission Costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Risk Modeling & Drivers | O&M Spend | Distribution Costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4991 | 0 | 3.1064 | 0
Risk Modeling & Drivers | O&M Spend | Transmission Costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Inspection & Correction Program | Capital Spend | Distribution Costs | 1 | 2.2 | 1.5 | 4.8 | 1.5 | 11 | 1.5 | 13.8 | 1.5 | 18.5 | 1.5 | 20
Inspection & Correction Program | Capital Spend | Transmission Costs | 0 | 0 | 0 | 0 | 0 | 0.2 | 0 | 0 | 0 | 1.1 | 0
Inspection & Correction Program | O&M Spend | Distribution Costs | 1.9 | 0.57977 | 2 | 1.3432 | 2 | 3.8027 | 2 | 7.5017 | 2.1 | 3.349 | 2.1 | 13.5
Inspection & Correction Program | O&M Spend | Transmission Costs | 0.1 | 0.45675 | 0.1 | 0.7469 | 0.1 | 0.42152 | 0.1 | 0.39275 | 0.1 | 0.92482 | 0.1 | 1
Vegetation Management | O&M Spend | Distribution Costs | 1.5 | 1.3297 | 1.3 | 2.7858 | 1.3 | 2.6533 | 1.3 | 2.0155 | 1.3 | 3.064 | 1.3 | 3.6
Vegetation Management | O&M Spend | Transmission Costs | 0.3 | 0.23881 | 0.3 | 0.14815 | 0.3 | 0.10294 | 0.3 | 0.15505 | 0.3 | 0.27383 | 0.3 | 0.3
Environmental Program | Capital Spend | Distribution Costs | 0.2 | 0 | 0.2 | 0.1 | 0.2 | 0.6 | 0.2 | 1.3 | 0.2 | 0.4 | 0.2 | 0.5
Environmental Program | Capital Spend | Transmission Costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1 | 0 | 0 | 0
Environmental Program | O&M Spend | Distribution Costs | 0.1 | 0 | 0.4 | 0.25515 | 0.4 | 0.3411 | 0.4 | 0.20696 | 0.4 | 0.054066 | 0.4 | 0.5
Environmental Program | O&M Spend | Transmission Costs | 0 | 0 | 0.1 | 0 | 0.1 | 0 | 0.1 | 0 | 0.1 | 0 | 0.1 | 0
System Hardening | Capital Spend | Transmission Line - Undergrounding | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
System Hardening | Capital Spend | Transmission Line - Covered Conductor | 0 | 2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
System Hardening | Capital Spend | Transmission Line - Other | 9.6 | 3.5 | 10 | 4.6 | 20 | 20.6 | 15 | 21.1 | 5.9 | 23.5 | 0 | 50
System Hardening | Capital Spend | Total Transmission Line Rebuild: | 9.6 | 5.6 | 10 | 4.6 | 20 | 20.6 | 15 | 21.1 | 5.9 | 23.5 | 0 | 50
System Hardening | Capital Spend | Distribution Line - Undergrounding | 10 | 3 | 24.7 | 4.9 | 20 | 31.5 | 20 | 32.2 | 10 | 76.6 | 10
System Hardening | Capital Spend | Distribution Line - Covered Conductor | 10 | 5.3 | 10 | 0.1 | 6 | 4.7 | 2.7 | 15.5 | 10 | 36 | 10
System Hardening | Capital Spend | Distribution Line - Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
System Hardening | Capital Spend | Total Distribution Line Rebuild: | 20 | 8.3 | 34.7 | 5 | 26 | 36.2 | 22.7 | 47.7 | 20 | 112.6 | 20 | 85
System Hardening | Capital Spend | Total Line Rebuild Constructed: | 29.6 | 13.9 | 44.7 | 9.6 | 46 | 56.8 | 37.7 | 68.8 | 25.9 | 136.1 | 20
System Hardening | Capital Spend | Distribution Costs | 3.2 | 3.8 | 3 | 4.7 | 2.3 | 3 | 1 | 7.1 | 0.2 | 16.2 | 0.3
System Hardening | Capital Spend | Transmission Costs | 0 | 2.2 | 0 | 1 | 0 | 1.1 | 0 | 1.2 | 0 | 1.2 | 0
System Hardening | O&M Spend | Distribution Costs | 0 | 0 | 0.2 | 0 | 0.1 | 0.10326 | 0.1 | 0.1841 | 0.1 | 0.53649 | 0.1
System Hardening | O&M Spend | Transmission Costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Situational Awareness Program | Capital Spend | Distribution Costs | 0.445 | 1.4 | 0.24 | 0.9 | 0.15 | 2.6 | 0.112 | 1.4 | 0 | 1.7 | 0 | 0.3
Situational Awareness Program | Capital Spend | Transmission Costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Situational Awareness Program | O&M Spend | Distribution Costs | 0.3 | 0.11392 | 0.4 | 0.36829 | 0.4 | 3.2978 | 0.4 | 2.6728 | 0.4 | 3.89 | 0.3 | 0.7
Situational Awareness Program | O&M Spend | Transmission Costs | 0 | 0 | 0 | 0.008745 | 0 | 0.012978 | 0 | 0 | 0 | 0 | 0
Field Operations & Work Practices | Capital Spend | Distribution Costs | 2.8 | 2.4 | 1 | 1.2 | 0 | 1.2 | 0 | 5.8 | 0 | 0.5 | 0 | 0.5
Field Operations & Work Practices | Capital Spend | Transmission Costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Field Operations & Work Practices | O&M Spend | Distribution Costs | 0.2 | 0.35716 | 0.2 | 0.17593 | 0.2 | 1.2676 | 0.2 | 2.3133 | 0.2 | 1.6942 | 0.2
Field Operations & Work Practices | O&M Spend | Transmission Costs | 0 | 0 | 0 | 0.14737 | 0 | 0.049933 | 0 | 0.54424 | 0 | 0.8556 | 0 | 0.6
Public Safety Power Shutoff (PSPS) Program | Capital Spend | Distribution Costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Public Safety Power Shutoff (PSPS) Program | Capital Spend | Transmission Costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Public Safety Power Shutoff (PSPS) Program | O&M Spend | Distribution Costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.009222 | 0 | 0.056594 | 0 | 8.2
Public Safety Power Shutoff (PSPS) Program | O&M Spend | Transmission Costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Emergency Management Wildfire Response | O&M Spend | Distribution Costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Emergency Management Wildfire Response | O&M Spend | Transmission Costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Public Safety Partner Coordination Strategy | Capital Spend | Distribution Costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9 | 0 | 0 | 0
Public Safety Partner Coordination Strategy | Capital Spend | Transmission Costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Public Safety Partner Coordination Strategy | O&M Spend | Distribution Costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.008062 | 0 | 0.006977 | 0 | 0
Public Safety Partner Coordination Strategy | O&M Spend | Transmission Costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wildfire Safety & Preparedness Engagement Strategy | Capital Spend | Distribution Costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wildfire Safety & Preparedness Engagement Strategy | Capital Spend | Transmission Costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wildfire Safety & Preparedness Engagement Strategy | O&M Spend | Distribution Costs | 0 | 0 | 0 | 0 | 0 | 0.017611 | 0 | 0 | 0 | 0.13926 | 0 | 0
Wildfire Safety & Preparedness Engagement Strategy | O&M Spend | Transmission Costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Industry Collaboration | Capital Spend | Distribution Costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Industry Collaboration | Capital Spend | Transmission Costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Industry Collaboration | O&M Spend | Distribution Costs | 0 | 0 | 0 | 0 | 0 | 0.056 | 0 | 0.044061 | 0 | 0.074529 | 0 | 0
Industry Collaboration | O&M Spend | Transmission Costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Plan Monitoring & Implementation | Capital Spend | Distribution Costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Plan Monitoring & Implementation | Capital Spend | Transmission Costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Plan Monitoring & Implementation | O&M Spend | Distribution Costs | 0 | 0 | 0 | 0 | 0 | 0.14334 | 0 | 0.38877 | 0 | 0.31002 | 0 | 0
Plan Monitoring & Implementation | O&M Spend | Transmission Costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2024 GRC Approved Amts for 2025
|  | Total O&M | 4.4 | 3.0761 | 5 | 5.9796 | 4.9 | 12.27 | 4.9 | 17.9356 | 5 | 18.3359 | 4.9 | 28.4 | 28.4
|  | Total Capital Spend (CAPEX) | 37.245 | 25.9 | 50.64 | 23.4 | 50.15 | 78.2 | 40.512 | 103.7 | 27.8 | 178.1 | 22 | 156.9 | 51.2
[5 empty] | 2.5 |  | 5 |  | 7.5
[5 empty] | 50.6 |  | 70.5 |  | 65