## EGU5.03p1
Enbridge Gas Utah
Docket No. 25-057-06
EGU Exhibit 5.03
Page 1 of 6
Individual Sampled Meter
Sampled Meter Address:
825 N 750 W
Provo, UT, 84604-3213
Measurement Statistics:
|  | Meter: 320 CFH | Service: 51' of 3/4"
|  | Main: 1000' of 2" | # Services: 22
1
2
3
4
5
6
7
8
9
10
11
12
15
17
18
19
20
21
22
13
14
16

## EGU5.03p2
Enbridge Gas Utah
Docket No. 25-057-06
EGU Exhibit 5.03
Page 2 of 6
Service, Main, and Meter Set Current Cost Data
| (A) | (B) | (C) | (D) | (E) | (F) | (G) | (H)
| IHP Service |  | Main |  | Meter (Fixed Pressure) |  | Meter (Line Pressure)
| Line Size | $ / ft | Line Size | $ / ft | Meter Set | $ / Meter | Meter Set | $ / Meter
1 | 0 | 0 | 0 | 0 | >=0 | 431 | >=400 | 12559.96
2 | 0.375 | 53.638 | 0.5 | 19.831 | >=400 | 585.0096 | >=600 | 12625.94
3 | 0.5 | 68.4035 | 0.75 | 40.091 | >=600 | 1348.3333 | >=900 | 12724.91
4 | 0.625 | 54.5553 | 1 | 22.7283 | >=900 | 1475.8773 | >=1400 | 12889.86
5 | 0.75 | 64.3835 | 1.25 | 33.211 | >=1400 | 2169 | >=2000 | 8326.68
6 | 1 | 55.9312 | 1.5 | 26.1669 | >=2000 | 2428.75 | >=3000 | 13417.7
7 | 1.25 | 74.5135 | 2 | 32.511 | >=3000 | 2145.6667 | >=5000 | 12801.04
8 | 1.5 | 57.7658 | 2.5 | 33.0442 | >=5000 | 3698.6667 | >=7000 | 13649.7
9 | 2 | 72.9835 | 3 | 19.831 | >=7000 | 5118 | >=11000 | 14339.66
10 | 2.5 | 61.435 | 3.5 | 39.9216 | >=11000 | 10791.3333 | >=16000 | 17706.4
11 | 3 | 72.9835 | 4 | 39.681 | >=16000 | 15242 | >=20000 | 19488.7267
12 | 4 | 76.5435 | 5 | 50.2375 | >=20000 | 18747.15 | >=24000 | 20345.6
13 | 6 | 52.52 | 6 | 60.031 | >=24000 | 22191.6 | >=30000 | 25053.95
14 | 8 | 81.6156 | 8 | 72.851 | >=30000 | 27686.4 | >=45000 | 26949.825
15 | 10 | 88.954 | 10 | 72.851 | >=45000 | 41423.4 | >=50000 | 45676.61
16 | 12 | 96.2924 | 12 | 72.851 | >=50000 | 46002.4 | >=100000 | 45418
17 | 14 | 103.6308 | 14 | 72.851 | >=100000 | 91792.4 | >=150000 | 58606.76
18 | 16 | 110.9692 | 16 | 72.851 | >=150000 | 137582.4 | >=250000 | 94903
19 |  |  | 20 | 72.851 | >=250000 | 229162.4
20 | HP Service |  | 24 | 72.851 | >=500000 | 458112.4 | Meter (High Pressure)
21 | Line Size | $ / ft |  |  | >=750000 | 687062.4 | Meter Set | $ / Meter
22 | 0 | 0 |  |  | >=1000000 | 916012.4 | >=400 | 7546.4691
23 | 0.75 | 59.6156 |  |  | >=2000000 | 1831812.4 | >=600 | 15092.9382
24 | 1 | 79.4875 |  |  |  |  | >=900 | 22639.4073
25 | 1.25 | 99.3594 |  |  |  |  | >=1400 | 30185.8764
26 | 2 | 158.975 |  |  |  |  | >=2000 | 30185.8764
27 | 3 | 786.8055 |  |  |  |  | >=3000 | 37732.3455
28 | 4 | 2300.4317 |  |  |  |  | >=5000 | 37732.3455
29 | 6 | 2661.7206 |  |  |  |  | >=7000 | 45278.8147
30 | 8 | 2531.4646 |  |  |  |  | >=11000 | 45278.8147
31 | 10 | 3870.95 |  |  |  |  | >=16000 | 45278.8147
32 | 12 | 4687.63 |  |  |  |  | >=20000 | 52825.2838
33 | 16 | 6320.99 |  |  |  |  | >=24000 | 52825.2838
34 | 20 | 16767.6457 |  |  |  |  | >=30000 | 60371.7529
35 | [6 empty] | >=45000 | 75464.6911
36 | [6 empty] | >=50000 | 113197.0366
37 | [6 empty] | >=100000 | 150929.3822
38 | [6 empty] | >=150000 | 226394.0733
39 | [6 empty] | >=250000 | 264126.4188
40 | [6 empty] | >=500000 | 301858.7644
41 | [6 empty] | >=750000 | 377323.4555
42 | [6 empty] | >=1000000 | 754646.9109
43 | [6 empty] | >=2000000 | 1509293.8218

## EGU5.03p3
Plant Investment for
Small Diameter Mains
| (A) | (B) | (C) | (D) | (E) | (F) | (G) | (H) | (I) | (J) | (K) | (L) | (M)
Unadjusted
|  |  | Average | [8 empty] | Total Small | Adjusted Small
| Meter Rating | Pressure | Cost | GS | FS | IS | TSL | TSM | TSS | TBF | NGV | Diameter Main | Diameter Main
1 | <400 | F | 2882.7574 | 2527613198.7422 | 5765.5148 | 0 | 0 | 0 | 2882.7574 | 0 | 0 | 2527621847.0143 | 719603602.2804
2 | <600 | F | 2247.9925 | 487719956.5351 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 487719956.5351 | 138851876.9298
3 | <900 | F | 3232.1072 | 23856182.9694 | 16160.5358 | 0 | 0 | 0 | 0 | 0 | 0 | 23872343.5052 | 6796358.5619
4 | <1400 | F | 5227.6539 | 185926737.0972 | 120236.0387 | 0 | 0 | 0 | 15682.9616 | 0 | 0 | 186062656.0975 | 52971277.2248
5 | <2000 | F | 8912.0468 | 37564277.2062 | 231713.2165 | 0 | 0 | 8912.0468 | 142592.7486 | 0 | 0 | 37947495.218 | 10803496.6894
6 | <3000 | F | 8403.1708 | 48486295.3019 | 621834.6365 | 16806.3415 | 0 | 8403.1708 | 336126.8305 | 0 | 0 | 49469466.2811 | 14083754.7281
7 | <5000 | F | 9262.4761 | 27815215.6705 | 935510.0842 | 0 | 0 | 18524.9522 | 879935.2277 | 0 | 0 | 29649185.9345 | 8441001.9752
8 | <5000 | L | 11308.7736 | 147014.0574 | 0 | 0 | 0 | 22617.5473 | 22617.5473 | 0 | 237484.2466 | 429733.3986 | 122343.341
9 | <5000 | H | 8266.0738 | 0 | 0 | 0 | 0 | 33064.2951 | 16532.1475 | 0 | 0 | 49596.4426 | 14119.9044
10 | <7000 | F | 9532.5616 | 19503621.0284 | 1067646.8989 | 19065.1232 | 0 | 9532.5616 | 1630068.0332 | 0 | 0 | 22229933.6452 | 6328771.192
11 | <7000 | L | 3566.4902 | 46364.3722 | 0 | 0 | 0 | 0 | 3566.4902 | 0 | 0 | 49930.8624 | 14215.1123
12 | <7000 | H | 20602.0959 | 144214.671 | 0 | 0 | 0 | 41204.1917 | 41204.1917 | 0 | 0 | 226623.0545 | 64518.6568
13 | <11000 | F | 12409.7077 | 9468606.9829 | 570846.5547 | 12409.7077 | 0 | 86867.954 | 2010372.649 | 0 | 0 | 12149103.8482 | 3458800.1777
14 | <11000 | L | 11659.2469 | 256503.4328 | 0 | 0 | 0 | 11659.2469 | 81614.7286 | 0 | 0 | 349777.4083 | 99580.1976
15 | <11000 | H | 17766.041 | 302022.6972 | 53298.123 | 0 | 0 | 53298.123 | 35532.082 | 0 | 0 | 444151.0253 | 126447.9804
16 | <16000 | F | 13224.72 | 6427213.9133 | 423191.0396 | 13224.72 | 0 | 145471.9198 | 2036606.8779 | 0 | 0 | 9045708.4706 | 2575276.2061
17 | <16000 | L | 11386.9796 | 227739.5918 | 22773.9592 | 0 | 0 | 56934.898 | 34160.9388 | 0 | 0 | 341609.3877 | 97254.7956
18 | <16000 | H | 13608.8155 | 272176.3094 | 27217.6309 | 13608.8155 | 0 | 122479.3392 | 108870.5238 | 0 | 0 | 544352.6189 | 154974.9643
19 | <20000 | F | 13904.8126 | 653526.1899 | 41714.4377 | 0 | 0 | 0 | 500573.2518 | 0 | 0 | 1195813.8794 | 340443.3208
20 | <20000 | L | 16074.6377 | 144671.7394 | 16074.6377 | 0 | 0 | 16074.6377 | 64298.5508 | 0 | 0 | 241119.5656 | 68645.7542
21 | <24000 | F | 15400.1893 | 1293615.9033 | 15400.1893 | 0 | 0 | 184802.2719 | 1078013.2528 | 15400.1893 | 0 | 2587231.8066 | 736574.314
22 | <24000 | L | 16839.629 | 33679.258 | 0 | 0 | 0 | 16839.629 | 84198.145 | 16839.629 | 0 | 151556.661 | 43147.5616
23 | <24000 | H | 13846.2218 | 290770.6585 | 27692.4437 | 27692.4437 | 0 | 83077.331 | 304616.8803 | 0 | 0 | 733849.7571 | 208924.0245
24 | <30000 | F | 18576.9376 | 130038.5632 | 0 | 0 | 0 | 55730.8128 | 185769.376 | 0 | 0 | 371538.7519 | 105775.5631
25 | <30000 | L | 13395.5107 | 66977.5534 | 0 | 0 | 0 | 26791.0214 | 120559.5962 | 0 | 0 | 214328.171 | 61018.3537
26 | <30000 | H | 16457.8027 | 362071.6601 | 16457.8027 | 32915.6055 | 32915.6055 | 181035.8301 | 263324.8437 | 0 | 0 | 888721.3476 | 253015.3329
27 | <45000 | F | 18405.9846 | 220871.8156 | 0 | 18405.9846 | 0 | 92029.9232 | 294495.7542 | 0 | 0 | 625803.4776 | 178163.6906
28 | <45000 | L | 21803.1794 | 130819.0761 | 0 | 0 | 0 | 65409.5381 | 109015.8968 | 21803.1794 | 0 | 327047.6903 | 93109.1399
29 | <45000 | H | 16050.873 | 963052.3775 | 128406.9837 | 32101.7459 | 0 | 561780.5535 | 1091459.3612 | 0 | 0 | 2776801.0218 | 790543.8942
30 | <50000 | F | 30015.4809 | 0 | 0 | 0 | 0 | 30015.4809 | 0 | 0 | 0 | 30015.4809 | 8545.2846
31 | <50000 | L | 19840.4809 | 0 | 19840.4809 | 0 | 0 | 0 | 0 | 0 | 0 | 19840.4809 | 5648.5038
32 | <100000 | L | 33684.8902 | 33684.8902 | 0 | 0 | 0 | 202109.3411 | 33684.8902 | 0 | 0 | 269479.1215 | 76719.6038
33 | <100000 | H | 19289.1408 | 790854.7736 | 96445.7041 | 96445.7041 | 115734.8449 | 1523842.1248 | 540095.943 | 57867.4225 | 0 | 3221286.5169 | 917087.0968
34 | <150000 | L | 26861.1196 | 0 | 0 | 0 | 26861.1196 | 80583.3589 | 26861.1196 | 0 | 0 | 134305.5981 | 38236.2545
35 | <150000 | H | 11316.0803 | 67896.4817 | 11316.0803 | 0 | 45264.3212 | 328166.3285 | 11316.0803 | 11316.0803 | 0 | 475275.3722 | 135308.9547
36 | <250000 | L | 30475.6742 | 0 | 0 | 0 | 121902.6966 | 182854.0449 | 30475.6742 | 0 | 0 | 335232.4157 | 95439.2977
37 | <250000 | H | 13132.5799 | 52530.3195 | 0 | 0 | 170723.5385 | 380844.8167 | 26265.1598 | 26265.1598 | 0 | 656628.9943 | 186939.5892
38 | <500000 | L | 35381.8114 | 0 | 0 | 0 | 35381.8114 | 0 | 0 | 0 | 0 | 35381.8114 | 10073.057
39 | <750000 | H | 2494.6679 | 0 | 0 | 0 | 14968.0075 | 9978.6717 | 0 | 0 | 0 | 24946.6792 | 7102.2175
40 | unadjusted total cost |  |  | 3381012401.839 | 4469542.9927 | 282676.1917 | 563751.9452 | 4640935.9624 | 12163390.5114 | 149491.6602 | 237484.2466 | 3403519675.3491 | 968968131.7268
41 | adjusted total cost |  |  | 962560403.0096 | 1272460.6103 | 80476.7557 | 160497.8731 | 1321255.4878 | 3462867.5323 | 42559.6643 | 67610.7937 | 0.2847 | 968968131.7268
Notes:
Column C - Sample average cost for meter rating listed in Column A from sample.
Columns D through K - Column C times number of meters in each class.
Column L - Sum of Columns D to K.
Line 40 - Total of Columns (lines 1 - 39).
Column M, line 41 - Book cost of small diameter mains.
Column L, line 41 - Ratio of book (Column M, line 41) to unadjusted total (Column L, line 40).
Line 41 - Line 40 times (Column L, line 41).
Column M - (Column L) times (Column L, line 41).

## EGU5.03p4
Plant Investment for
Service Lines
| (A) | (B) | (C) | (D) | (E) | (F) | (G) | (H) | (I) | (J) | (K) | (L) | (M)
Unadjusted
|  |  | Average | [8 empty] | Total Service | Adjusted Service
| Meter Rating | Pressure | Cost | GS | FS | IS | TSL | TSM | TSS | TBF | NGV | Line Cost | Line Cost
1 | <400 | F | 3943.0864 | 3457313947.1878 | 7886.1728 | 0 | 0 | 0 | 3943.0864 | 0 | 0 | 3457325776.4471 | 336729574.4155
2 | <600 | F | 4755.4139 | 1031725097.4443 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1031725097.4443 | 100485859.7194
3 | <900 | F | 4754.1153 | 35090125.2572 | 23770.5767 | 0 | 0 | 0 | 0 | 0 | 0 | 35113895.8339 | 3419951.7097
4 | <1400 | F | 7108.2715 | 252812783.2462 | 163490.2439 | 0 | 0 | 0 | 21324.8144 | 0 | 0 | 252997598.3046 | 24640944.7977
5 | <2000 | F | 23728.4887 | 100015579.7 | 616940.7051 | 0 | 0 | 23728.4887 | 379655.8186 | 0 | 0 | 101035904.7124 | 9840489.2667
6 | <3000 | F | 10478.3412 | 60460028.7028 | 775397.2485 | 20956.6824 | 0 | 10478.3412 | 419133.6479 | 0 | 0 | 61685994.6227 | 6007966.868
7 | <5000 | F | 12657.6863 | 38011032.0591 | 1278426.3197 | 0 | 0 | 25315.3727 | 1202480.2017 | 0 | 0 | 40517253.9531 | 3946216.9788
8 | <5000 | L | 20287.3213 | 263735.1774 | 0 | 0 | 0 | 40574.6427 | 40574.6427 | 0 | 426033.7481 | 770918.2108 | 75084.3218
9 | <5000 | H | 56619.502 | 0 | 0 | 0 | 0 | 226478.0079 | 113239.0039 | 0 | 0 | 339717.0118 | 33087.0656
10 | <7000 | F | 15803.2885 | 32333528.2617 | 1769968.3115 | 31606.577 | 0 | 15803.2885 | 2702362.3327 | 0 | 0 | 36853268.7714 | 3589359.6125
11 | <7000 | L | 72.9835 | 948.7852 | 0 | 0 | 0 | 0 | 72.9835 | 0 | 0 | 1021.7687 | 99.5161
12 | <7000 | H | 36880.2167 | 258161.5172 | 0 | 0 | 0 | 73760.4335 | 73760.4335 | 0 | 0 | 405682.3842 | 39511.8266
13 | <11000 | F | 18710.8938 | 14276411.9455 | 860701.1134 | 18710.8938 | 0 | 130976.2564 | 3031164.7905 | 0 | 0 | 18317964.9995 | 1784095.8467
14 | <11000 | L | 3965.9774 | 87251.5021 | 0 | 0 | 0 | 3965.9774 | 27761.8416 | 0 | 0 | 118979.321 | 11588.1056
15 | <11000 | H | 15530.5383 | 264019.1517 | 46591.615 | 0 | 0 | 46591.615 | 31061.0767 | 0 | 0 | 388263.4584 | 37815.2935
16 | <16000 | F | 22213.4578 | 10795740.482 | 710830.649 | 22213.4578 | 0 | 244348.0356 | 3420872.4984 | 0 | 0 | 15194005.1229 | 1479834.7652
17 | <16000 | L | 53709.8867 | 1074197.7336 | 107419.7734 | 0 | 0 | 268549.4334 | 161129.66 | 0 | 0 | 1611296.6003 | 156933.7845
18 | <16000 | H | 219182.9805 | 4383659.6106 | 438365.9611 | 219182.9805 | 0 | 1972646.8248 | 1753463.8442 | 0 | 0 | 8767319.2212 | 853901.501
19 | <20000 | F | 22233.4849 | 1044973.7916 | 66700.4548 | 0 | 0 | 0 | 800405.4574 | 0 | 0 | 1912079.7038 | 186228.8446
20 | <20000 | L | 14564.3839 | 131079.4547 | 14564.3839 | 0 | 0 | 14564.3839 | 58257.5354 | 0 | 0 | 218465.7578 | 21277.6829
21 | <20000 | H | 9201.727 | 0 | 0 | 0 | 9201.727 | 0 | 0 | 0 | 0 | 9201.727 | 896.2111
22 | <24000 | F | 20863.5846 | 1752541.1032 | 20863.5846 | 0 | 0 | 250363.0147 | 1460450.9193 | 20863.5846 | 0 | 3505082.2063 | 341380.8579
23 | <24000 | L | 17128.1713 | 34256.3425 | 0 | 0 | 0 | 17128.1713 | 85640.8563 | 17128.1713 | 0 | 154153.5413 | 15013.9326
24 | <24000 | H | 21916.351 | 460243.372 | 43832.7021 | 43832.7021 | 0 | 131498.1063 | 482159.723 | 0 | 0 | 1161566.6055 | 113131.8985
25 | <30000 | F | 28173.6388 | 197215.4716 | 0 | 0 | 0 | 84520.9164 | 281736.3879 | 0 | 0 | 563472.7759 | 54879.9738
26 | <30000 | L | 38689.8283 | 193449.1417 | 0 | 0 | 0 | 77379.6567 | 348208.4551 | 0 | 0 | 619037.2535 | 60291.7296
27 | <30000 | H | 31766.2815 | 698858.1925 | 31766.2815 | 63532.563 | 63532.563 | 349429.0963 | 508260.5036 | 0 | 0 | 1715379.1998 | 167071.0096
28 | <45000 | F | 19769.1303 | 237229.5639 | 0 | 19769.1303 | 0 | 98845.6516 | 316306.0852 | 0 | 0 | 672150.431 | 65464.7387
29 | <45000 | L | 16048.9653 | 96293.7918 | 0 | 0 | 0 | 48146.8959 | 80244.8265 | 16048.9653 | 0 | 240734.4794 | 23446.5665
30 | <45000 | H | 24193.0314 | 1451581.8837 | 193544.2512 | 48386.0628 | 0 | 846756.0988 | 1645126.1349 | 0 | 0 | 4185394.4313 | 407640.5224
31 | <50000 | F | 2678.52 | 0 | 0 | 0 | 0 | 2678.52 | 0 | 0 | 0 | 2678.52 | 260.877
32 | <50000 | L | 535.8043 | 0 | 535.8043 | 0 | 0 | 0 | 0 | 0 | 0 | 535.8043 | 52.1852
33 | <50000 | H | 155307.4956 | 776537.4781 | 0 | 0 | 0 | 310614.9913 | 0 | 0 | 0 | 1087152.4694 | 105884.262
34 | <100000 | L | 19875.1574 | 19875.1574 | 0 | 0 | 0 | 119250.9442 | 19875.1574 | 0 | 0 | 159001.259 | 15486.0808
35 | <100000 | H | 53441.0103 | 2191081.4206 | 267205.0513 | 267205.0513 | 320646.0616 | 4221839.8104 | 1496348.2872 | 160323.0308 | 0 | 8924648.7132 | 869224.7585
36 | <150000 | L | 11180.9289 | 0 | 0 | 0 | 11180.9289 | 33542.7866 | 11180.9289 | 0 | 0 | 55904.6443 | 5444.8867
37 | <150000 | H | 379027.778 | 2274166.6681 | 379027.778 | 0 | 1516111.1121 | 10991805.5626 | 379027.778 | 379027.778 | 0 | 15919166.6768 | 1550462.5733
38 | <250000 | L | 15734.1086 | 0 | 0 | 0 | 62936.4344 | 94404.6516 | 15734.1086 | 0 | 0 | 173075.1945 | 16856.8253
39 | <250000 | H | 331648.4111 | 1326593.6445 | 0 | 0 | 4311429.3446 | 9617803.9227 | 663296.8223 | 663296.8223 | 0 | 16582420.5563 | 1615060.8238
40 | <500000 | L | 10924.16 | 0 | 0 | 0 | 10924.16 | 0 | 0 | 0 | 0 | 10924.16 | 1063.9691
41 | <500000 | H | 2029726.6576 | 0 | 0 | 0 | 16237813.2609 | 8118906.6304 | 2029726.6576 | 0 | 0 | 26386446.5489 | 2569933.3795
42 | <750000 | H | 1697990.9259 | 0 | 0 | 0 | 10187945.5556 | 6791963.7037 | 0 | 0 | 0 | 16979909.2594 | 1653774.6189
43 | <1000000 | H | 40503.434 | 0 | 0 | 0 | 0 | 40503.434 | 0 | 0 | 0 | 40503.434 | 3944.871
44 | <2000000 | H | 1160303.7887 | 0 | 0 | 0 | 0 | 1160303.7887 | 0 | 2320607.5774 | 0 | 3480911.3661 | 339026.7156
45 | unadjusted total cost |  |  | 5052052224.2422 | 7817828.9816 | 755396.1009 | 32731721.148 | 46505467.4555 | 24063987.3012 | 3577295.9295 | 426033.7481 | 5167929954.907 | 503335516.19
46 | adjusted total cost |  |  | 492049492.9877 | 761424.9845 | 73572.5309 | 3187937.5114 | 4529444.8012 | 2343735.2239 | 348414.183 | 41493.9673 | 0.097396 | 503335516.19
Notes:
Column C - Sample average cost for meter rating listed in Column A from sample.
Columns D through K - Column C times number of meters in each class.
Column L - Sum of Columns D to K.
Line 45 - Total of Columns (lines 1 - 44).
Column M, line 46 - Book cost of small diameter mains.
Column L, line 46 - Ratio of book (Column M, line 46) to unadjusted total (Column L, line 45).
Line 46 - Line 45 times (Column L, line 46).
Column M - (Column L) times (Column L, line 46).

## EGU5.03p5
Plant Investment for
Meters / Regulators
| (A) | (B) | (C) | (D) | (E) | (G) | (F) | (H) | (I) | (J) | (K) | (L) | (M)
Unadjusted
|  |  | Average | [8 empty] | Total Meter and | Adjusted Meter and
| Meter Rating | Pressure | Cost | GS | FS | IS | TSL | TSM | TSS | TBF | NGV | Regulator Cost | Regulator Cost
1 | <400 | F | 431 | 377902524 | 862 | 0 | 0 | 0 | 431 | 0 | 0 | 377903817 | 286975258.0443
2 | <600 | F | 585.0096 | 126922516.4709 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 126922516.4709 | 96383313.1007
3 | <900 | F | 1348.3333 | 9952048.3333 | 6741.6667 | 0 | 0 | 0 | 0 | 0 | 0 | 9958790 | 7562575.9823
4 | <1400 | F | 1475.8773 | 52491051.38 | 33945.1775 | 0 | 0 | 0 | 4427.6318 | 0 | 0 | 52529424.1893 | 39890163.5377
5 | <2000 | F | 2169 | 9142335 | 56394 | 0 | 0 | 2169 | 34704 | 0 | 0 | 9235602 | 7013396.3933
6 | <3000 | F | 2428.75 | 14013887.5 | 179727.5 | 4857.5 | 0 | 2428.75 | 97150 | 0 | 0 | 14298051.25 | 10857754.7048
7 | <5000 | F | 2145.6667 | 6443437 | 216712.3333 | 0 | 0 | 4291.3333 | 203838.3333 | 0 | 0 | 6868279 | 5215682.0061
8 | <5000 | L | 13417.7 | 174430.1 | 0 | 0 | 0 | 26835.4 | 26835.4 | 0 | 0 | 228100.9 | 173216.8655
9 | <5000 | H | 37732.3455 | 0 | 0 | 0 | 0 | 150929.3822 | 75464.6911 | 0 | 0 | 226394.0733 | 171920.7234
10 | <7000 | F | 3698.6667 | 7567472 | 414250.6667 | 7397.3333 | 0 | 3698.6667 | 632472 | 0 | 0 | 8625290.6667 | 6549933.8811
11 | <7000 | L | 12801.04 | 166413.52 | 0 | 0 | 0 | 0 | 12801.04 | 0 | 0 | 179214.56 | 136093.2128
12 | <7000 | H | 37732.3455 | 264126.4188 | 0 | 0 | 0 | 75464.6911 | 75464.6911 | 0 | 0 | 415055.801 | 315187.9929
13 | <11000 | F | 5118 | 3905034 | 235428 | 5118 | 0 | 35826 | 829116 | 0 | 0 | 5010522 | 3804925.4313
14 | <11000 | L | 13649.7 | 300293.4 | 0 | 0 | 0 | 13649.7 | 95547.9 | 0 | 0 | 409491 | 310962.1552
15 | <11000 | H | 45278.8147 | 769739.8491 | 135836.444 | 0 | 0 | 135836.444 | 90557.6293 | 0 | 0 | 1131970.3664 | 859603.617
16 | <16000 | F | 10791.3333 | 5244588 | 345322.6667 | 10791.3333 | 0 | 118704.6667 | 1661865.3333 | 0 | 0 | 7381272 | 5605242.2379
17 | <16000 | L | 14339.66 | 286793.2 | 28679.32 | 0 | 0 | 71698.3 | 43018.98 | 0 | 0 | 430189.8 | 326680.5555
18 | <16000 | H | 45278.8147 | 905576.2931 | 90557.6293 | 45278.8147 | 0 | 407509.3319 | 362230.5172 | 0 | 0 | 1811152.5862 | 1375365.7873
19 | <20000 | F | 15242 | 716374 | 45726 | 0 | 0 | 0 | 548712 | 0 | 0 | 1310812 | 995413.6344
20 | <20000 | L | 17706.4 | 159357.6 | 17706.4 | 0 | 0 | 17706.4 | 70825.6 | 0 | 0 | 265596 | 201690.1582
21 | <20000 | H | 45278.8147 | 0 | 0 | 0 | 45278.8147 | 0 | 0 | 0 | 0 | 45278.8147 | 34384.1447
22 | <24000 | F | 18747.15 | 1574760.6 | 18747.15 | 0 | 0 | 224965.8 | 1312300.5 | 18747.15 | 0 | 3149521.2 | 2391705.5569
23 | <24000 | L | 19488.7267 | 38977.4533 | 0 | 0 | 0 | 19488.7267 | 97443.6333 | 19488.7267 | 0 | 175398.54 | 133195.3767
24 | <24000 | H | 52825.2838 | 1109330.959 | 105650.5675 | 105650.5675 | 0 | 316951.7026 | 1162156.2428 | 0 | 0 | 2799740.0395 | 2126086.2795
25 | <30000 | F | 22191.6 | 155341.2 | 0 | 0 | 0 | 66574.8 | 221916 | 0 | 0 | 443832 | 337040.2653
26 | <30000 | L | 20345.6 | 101728 | 0 | 0 | 0 | 40691.2 | 183110.4 | 0 | 0 | 325529.6 | 247202.9568
27 | <30000 | H | 52825.2838 | 1162156.2428 | 52825.2838 | 105650.5675 | 105650.5675 | 581078.1214 | 845204.5402 | 0 | 0 | 2852565.3232 | 2166201.1149
28 | <45000 | F | 27686.4 | 332236.8 | 0 | 27686.4 | 0 | 138432 | 442982.4 | 0 | 0 | 941337.6 | 714839.5664
29 | <45000 | L | 25053.95 | 150323.7 | 0 | 0 | 0 | 75161.85 | 125269.75 | 25053.95 | 0 | 375809.25 | 285384.671
30 | <45000 | H | 60371.7529 | 3622305.1724 | 482974.023 | 120743.5057 | 0 | 2113011.3506 | 4105279.1954 | 0 | 0 | 10444313.247 | 7931276.0399
31 | <50000 | F | 41423.4 | 0 | 0 | 0 | 0 | 41423.4 | 0 | 0 | 0 | 41423.4 | 31456.3928
32 | <50000 | L | 26949.825 | 0 | 26949.825 | 0 | 0 | 0 | 0 | 0 | 0 | 26949.825 | 20465.3476
33 | <50000 | H | 75464.6911 | 377323.4555 | 0 | 0 | 0 | 150929.3822 | 0 | 0 | 0 | 528252.8376 | 401148.3546
34 | <100000 | L | 45676.61 | 45676.61 | 0 | 0 | 0 | 274059.66 | 45676.61 | 0 | 0 | 365412.88 | 277489.8025
35 | <100000 | H | 113197.0366 | 4641078.5021 | 565985.1832 | 565985.1832 | 679182.2198 | 8942565.8943 | 3169517.0258 | 339591.1099 | 0 | 18903905.1183 | 14355380.4046
36 | <150000 | L | 45418 | 0 | 0 | 0 | 45418 | 136254 | 45418 | 0 | 0 | 227090 | 172449.2011
37 | <150000 | H | 150929.3822 | 905576.2931 | 150929.3822 | 0 | 603717.5287 | 4376952.0833 | 150929.3822 | 150929.3822 | 0 | 6339034.0517 | 4813780.2554
38 | <250000 | L | 58606.76 | 0 | 0 | 0 | 234427.04 | 351640.56 | 58606.76 | 0 | 0 | 644674.36 | 489557.349
39 | <250000 | H | 226394.0733 | 905576.2931 | 0 | 0 | 2943122.9526 | 6565428.1249 | 452788.1465 | 452788.1465 | 0 | 11319703.6637 | 8596036.1704
40 | <500000 | L | 94903 | 0 | 0 | 0 | 94903 | 0 | 0 | 0 | 0 | 94903 | 72068.1075
41 | <500000 | H | 264126.4188 | 0 | 0 | 0 | 2113011.3506 | 1056505.6753 | 264126.4188 | 0 | 0 | 3433643.4446 | 2607464.305
42 | <750000 | H | 301858.7644 | 0 | 0 | 0 | 1811152.5862 | 1207435.0575 | 0 | 0 | 0 | 3018587.6436 | 2292276.3121
43 | <1000000 | H | 377323.4555 | 0 | 0 | 0 | 0 | 377323.4555 | 0 | 0 | 0 | 377323.4555 | 286534.539
44 | <2000000 | H | 754646.9109 | 0 | 0 | 0 | 0 | 754646.9109 | 0 | 1509293.8218 | 0 | 2263940.7327 | 1719207.2341
45 | unadjusted total cost |  |  | 632450389.3465 | 3211951.2187 | 999159.2053 | 8675864.06 | 28878267.8208 | 17548187.7523 | 2515892.2871 | 0 | 694279711.6908 | 527227009.7696
46 | adjusted total cost |  |  | 480274624.1723 | 2439114.1035 | 758748.5436 | 6588338.6602 | 21929782.0952 | 13325866.2175 | 1910535.9772 | 0 | 0.75939 | 527227009.7696
Notes:
Column C - Sample average cost for meter rating listed in Column A from sample.
Columns D through K - Column C times number of meters in each class.
Column L - Sum of Columns D to K.
Line 45 - Total of Columns (lines 1 - 44).
Column M, line 46 - Book cost of small diameter mains.
Column L, line 46 - Ratio of book (Column M, line 46) to unadjusted total (Column L, line 45).
Line 46 - Line 45 times (Column L, line 46).
Column M - (Column L) times (Column L, line 46).

## EGU5.03p6
Rate Schedule Adjusted Investment - Distribution Plant Factor
| (A) | (B) | (C) | (D) | (E) | (F) | (G) | (H) | (I) | (J)
| Rate | GS | FS | IS | TSL | TSM | TSS | TBF | NGV | Total
1 | Small Diameter Main | 962560403.0096 | 1272460.6103 | 80476.7557 | 160497.8731 | 1321255.4878 | 3462867.5323 | 42559.6643 | 67610.7937 | 968968131.7268
2 | Service Line | 492049492.9877 | 761424.9845 | 73572.5309 | 3187937.5114 | 4529444.8012 | 2343735.2239 | 348414.183 | 41493.9673 | 503335516.19
3 | Meter & Regulator | 480274624.1723 | 2439114.1035 | 758748.5436 | 6588338.6602 | 21929782.0952 | 13325866.2175 | 1910535.9772 | 0 | 527227009.7696
4 | Total | 1934884520.1696 | 4472999.6983 | 912797.8302 | 9936774.0448 | 27780482.3842 | 19132468.9737 | 2301509.8245 | 109104.761 | 1999530657.6864
5 | Small Diameter Main | 99.34% | 0.1313% | 0.008305% | 0.01656% | 0.1364% | 0.3574% | 0.004392% | 0.006978% | 100%
6 | Service Line | 97.76% | 0.1513% | 0.01462% | 0.6334% | 0.8999% | 0.4656% | 0.06922% | 0.008244% | 100%
7 | Meter & Regulator | 91.09% | 0.4626% | 0.1439% | 1.25% | 4.159% | 2.528% | 0.3624% | 0% | 100%
8 | Total | 96.77% | 0.2237% | 0.04565% | 0.497% | 1.389% | 0.9568% | 0.1151% | 0.005457% | 100%