## Sheet1
R746 Public Service Commission
Sub-Section R746-700-50
Provisions for Complete Filing of General Rate Case
Pineview West Water Company Docket 19-2438-01
|  |  |  | Original April 24 Filing | Additional Information Provided
Reference ID |  | Explanation | Filing Status | Status | Status
R746-700-50 |  | An applicant shall be in compliance with the reporting requirements of R746-400 prior to submitting an application for a general rate case. If the applicant is not in compliance with that rule, the applicant shall first submit any missing reports prior to submitting an application for a general rate case. An applicant submitting a general rate case application shall provide the following information with the application: | Pineview West has consistently filed its Annual Report through 2018. The Annual Report for 2019 appears to be not filed yet. I checked with the DPU Technical Consultant who is in charge of verifying that all Annual Reports are timely filed to see if an extension is filed, or if they have any additional information regarding this. They stated that they have not heard anything. Pineview should have it filed soon - mixup with accountant and the coronavirus (May 1, 2020). Received on or about May 26, 2020. | Incomplete | Complete
R746-700-50.A | General Information:
R746-700-50.A.1 |  | Most recent Division of Drinking Water Certification/report. | Not Included Sent on or about May 21, 2020 | Incomplete | Complete
R746-700-50.A.2 |  | Certificate of Public Convenience and Necessity Number granted by the Commission and its date. | 2438 | Complete
R746-700-50.A.3 |  | Date the utility started operation. | Not Included 01/01/1971 | Incomplete | Complete
R746-700-50.A.4 |  | The number of connections approved and current area. | Not Included Sent on or about May 21, 2020 | Incomplete | Complete
R746-700-50.A.5 |  | Ownership and officers. | Not Included Provided | Incomplete | Complete
R746-700-50.A.6 |  | Associated companies (if any). | Not Included None | Incomplete | Complete
R746-700-50.A.7 |  | A copy of its current tariff. | Provided | Complete
R746-700-50.B | Engineering Information:
R746-700-50.B.1 |  | Source of water supply. | Provided | Complete
R746-700-50.B.2 |  | Information for all Wells. | Provided | Complete
R746-700-50.B.3 |  | Mains and meters information. | Not Included Pressurized underground mains. All connections are metered. | Incomplete | Complete
R746-700-50.B.4 |  | Reservoirs information. | Provided Lower tank (52,800 glallons), Upper tank 62,300 gallons. | Complete
R746-700-50.B.5 |  | Storage capacity. | Provided | Complete
R746-700-50.B.6 |  | Service deficiencies and remedies. | Provided | Complete
R746-700-50.B.7 |  | Service quality. | Not Included No disruptions in water deliver during the last two years. Service and maintenance is handled by certified water operator, Matt Summers, Eden, UT. | Incomplete | Complete
R746-700-50.B.8 |  | Additions or improvements in the last five years. | Not Included SCADA telemetry system installed 2014, Ogden City booster pumps replaced and above ground pump hose installed 2014, SCADA telemetry controls added to secondary system 2019. | Incomplete | Complete
R746-700-50.B.9 |  | Any anticipated additions or improvements. | Provided bid for meter reading system. | Complete
R746-700-50.B.10 |  | Efforts to encourage conservation. | Provided | Complete
R746-700-50.C | Customer Connection Information:
R746-700-50.C.1 |  | Each connection identified by unique lot number or address. | Not needed in this Case | N.A.
R746-700-50.C.2 |  | The date first put into service. | Not needed in this Case | N.A.
R746-700-50.C.3 |  | Whether metered or unmetered. | Not needed in this Case | N.A.
R746-700-50.C.4 |  | Whether classified as residential or commercial. | Not needed in this Case | N.A.
R746-700-50.C.5 |  | The water usage per month or billing cycle, showing minimum and overage gallons used. | Not needed in this Case | N.A.
R746-700-50.C.6 |  | The amount billed per month or billing cycle. | Not needed in this Case | N.A.
R746-700-50.C.7 |  | The anticipated growth, showing minimum and overage gallons used. | Not needed in this Case | N.A.
R746-700-50.C.8 |  | Water usage and billings projected for the next three years. | Not needed in this Case | N.A.
R746-700-50.C.9 |  | Information on any secondary/irrigation water system (the same information as C. 1, 2, 5, 6, 7 and 8 above). | Not Included Provided on or about May 21, 2020 | Incomplete | Complete
R746-700-50.C.10 |  | Identification whether secondary water is distributed through the culinary system. | Not Included Provided on or about May 21, 2020 | Incomplete | Complete
R746-700-50.D |  | Accounting and Financial Data, which shall include the prior two complete years and current up to the date of general rate case application, unless otherwise specified: prior two complete years and current up to the date of general rate case application, unless otherwise specified:
R746-700-50.D.1 |  | Identification (contact information) for any accountant used by the utility. | Not Included Brenda Head Lewis R. Child & Company, PC 2784 Jefferson Ave Ogden, UT 84403 | Incomplete | Complete
R746-700-50.D.2 |  | Copies of the General Ledger. | Not Included, Provided for 2019 | Incomplete | Complete
R746-700-50.D.3 |  | Copies of the Balance Sheet. | Provided for 2019, Provided for 2018 | Complete
R746-700-50.D.4 |  | Copies of the Income Statement. | Provided for 2019, Provided for 2018 | Complete
R746-700-50.D.5 |  | Pro Forma Income Statements, categorized by the National Association of Regulatory Utility Commissions, NARUC, System of Accounts, to include:
R746-700-50.D.5.a |  | the prior two years of revenues and expenses. | Provided | Complete
R746-700-50.D.5.b |  | the projected revenues and expenses for the next three years, to include the Company’s anticipated growth rate and requested rate increase. | Provided | Complete
R746-700-50.D.6 |  | A copy of or the utility’s check register. | Not Included Provided in TXT format | Incomplete | Complete
R746-700-50.D.7 |  | Billing documentation/reports, tied back to the tariff rates. | Missing Added sample Standby and Flat Rate. Missing metered billings. Provided metered readings billing in part on or about May 21, 2020 and completed on or about May 26, 2020. | Incomplete | Complete
R746-700-50.D.8 |  | Information on the utility plant, including, but not limited to:
R746-700-50.D.8.a |  | Acquisition date. | Missing Provided in 2019 Annual Report received on or about may 26, 2020. | Incomplete | Complete
R746-700-50.D.8.b |  | Acquisition price or cost. | Missing | Incomplete | Complete
R746-700-50.D.8.c |  | Salvage value. | Missing | Incomplete | Complete
R746-700-50.D.8.d |  | Expected useful life. | Missing | Incomplete | Complete
R746-700-50.D.8.e |  | Annual depreciation amount per asset. | Missing | Incomplete | Complete
R746-700-50.D.8.f |  | Accumulated depreciation per asset and reconciled to the total accumulated depreciation amount to the most recent Annual Report. (If these amounts do not match the most recent Annual Report provide detailed explanations for any needed adjustments). | Missing | Incomplete | Complete
R746-700-50.D.8.g |  | If an asset was donated, the amount applied to Contribution in Aid of Construction per asset, | Missing | Incomplete | Complete
R746-700-50.D.8.h |  | If donated, the accumulated amortization of the Contribution in Aid of Construction per asset and reconciled to the total accumulated amortization amount to the most recent Annual Report. (If these amounts do not match the most recent Annual Report provide detailed explanations for any needed adjustments). | Missing | Incomplete | Complete
R746-700-50.D.8.i |  | Projected future asset purchases for the next three years, providing the estimated acquisition date and price. | Provided bid for meter reading system. | Complete
R746-700-50.D.9 |  | Copies of tax returns for the prior two complete years. | Not needed in this Case | N.A.
R746-700-50.D.10 |  | Information on all Notes Payable, Loans, and other Obligations, This will include all outstanding and those retired within the past two years, including:
R746-700-50.D.10.a |  | Interest rate. | Missing Provided on or about May 21, 2020 | Incomplete | Complete
R746-700-50.D.10.b |  | Beginning date. | Missing Provided on or about May 21, 2020 | Incomplete | Complete
R746-700-50.D.10.c |  | Date of last scheduled payment (the Loan pay-off date). | Missing Provided on or about May 21, 2020 | Incomplete | Complete
R746-700-50.D.10.d |  | Amount of payment. | Missing Provided on or about May 21, 2020 | Incomplete | Complete
R746-700-50.E | Customer Notice Information
R746-700-50.E.1 |  | A copy of any notice sent to customers notifying them that the utility is seeking a rate increase. | Provided | Complete
Accounting and Financial Data, which shall include the prior two complete years and current up to the date of general rate case application, unless otherwise specified: prior two complete years and current up to the date of general rate case application, unless otherwise specified: